AN ASSESSMENT OF THE DESIGN AND CONSTRUCTION OF 5KVA INVERTER

ABSTRACT

This inverter is designed to convert ac power from higher capacity dc batteries to A.C voltage (power) for systems that use ac only. It uses 24v battery D.C times 2, which is converted by the MOSFET to A.C. it is used I.C. with the model number SG3525 where the four MOSFET is connected to it. It consists winding which enable to determine the number of wattage. The inverter consist of four section (i)	supply unity (i) Triggering or Switching unit (ii) Buffer stage (iv) step-up transformer unit.

TABLES OF CONTENT

Title page											i

Approval page										ii

Dedication 											iii

Acknowledgement 									iv

Abstract											v

Tables of contents									vi

CHAPTER ONE

INTRODUCTION 									1

1.0 	Background of the study 							1

1.1 	Objectives of the project 							4

1.2 	Scope of the project 								5

1.3 	Organzation of the project 							6

CHAPTER TWO

2.0	Literature review									9

2.1 	Description of components							13

2.2	Transformer fundamentals							14

2.3  Capacitors		17

2.4  Resistors		18

  - Transistors										19

    - Bipolar junction transistor							20

CHAPTER THREE

3.0 power inverter block diagram						24

3.2 System operation with block diagram unit description	25

3.3	Battery, Power supply unit 						25

3.4 Battery capacity.								26

3.5 Oscillator driver stage and buffer unit					27

3.6 Buffer stage										28

3.7 Transformer stage									28

3.8 Change over stage									29

3.9 Feedback										30

3.10 complete circuit diagram of inverter						31

3.11 Principles of operation								33

CHAPTER FOUR

4.0 Design and construction procedure						35

4.1 Features of the device								35

4.2 Construction of the rectification circuit					35

4.3 Oscillator circuit									36

4.4 Buffer circuit										39

CHAPTER FIVE

5.0 Circuit construction, testing  and packaging 			43

5.1	Component sourcing							43

5.2	Prototype construction							44

5.3	Actual constructions								45

5.4 	Testing of the inverter system						47

5.5	Packaging									48

5.6	Trouble shooting								51

CHAPTER SIX

6.0 	Conclusion and recommendation					54

6.1	Conclusions									54

6.2	Recommendations								55

References									56

LIST OF TABLES

Table .2.1 	various values of capacitors			18

Table 2.2 		Values of Resistor 					19

Table 2.3 	Transistor values					20

Table 5.1 	Bill of Engineering Measurement and

Evaluation (BEME) AS OF December 2013	52

LIST OF FIGURES

Fig. 2.1 Laminated core type of transformer				17

Fig.2.4  Field effect transistor (FET)						19

Fig.3.1  Blocks diagram of 5kva inverter					24

Fig. 3.4: Circuit diagram of 5kva power inverter			31

Fig. 4.1 Full wave rectification circuit					36

Fig. 4.2 Inverting stage								37

Fig. 4.3 Puls width switching							37

Fig. 5.2 Strip type of vero board						46

Fig .5.3 Casing  (a) Top  (b) Side   (c) Front of the casing		50

CHAPTER ONE

INTRODUCTION

1.0 BACKGROUND OF THE STUDY

The unreliability of the nation's electrical power supply is a well-established truth in today's society. There is now a substantial disruption in the provision of electrical power over the whole planet. As a consequence of the disruption in the supply of electrical power, a great deal of electrical apparatus has either begun to have issues or has completely ceased functioning (Buckey, 2022). As a result, numerous businesses have been rendered inoperable, which has had a negative impact on the economies of several nations, including Nigeria. In addition, there has been a noticeable rise in the number of instances of power supply disturbances, which is another kind of power pollution. Because of this, high voltage spikes and brief voltage decreases are rather typical. The performance of sensitive equipment in private and corporate organizations could be negatively impacted by these power disturbances, which could result in the loss of data and even damage to the equipment (Corner, 2021).

It is not an exaggeration to say that the supply of electrical power in Nigeria is currently in an epileptic condition at the present time. This has become the norm, to the point that many people in Nigeria now consider periodic power outages to be "Normal" and an accepted aspect of their everyday lives. It has been determined that this issue is caused by a diverse collection of causes. These include the occurrence of natural catastrophes, acts of vandalism, issues with maintainability and sustainability, as well as a dearth of locally produced material (Edward , 2022). Without examining other factors, such as a lack of political will to invest adequately in the power sector, an absence of replacement policy that results in obsolete equipment, an unsustainable human capacity building, and an inadequate reward and remuneration system to motivate human resources team members to perform well, the issue of poor quality power supply cannot be properly addressed. This is because it is impossible to properly address the problem without first examining other factors.

The Institute of Electrical and Electronics Engineering (IEEE) has issued a recommendation stating that the supplies that should be available for usage should be continuous, uninterrupted, have a constant frequency, and be within the load specified in terms of voltage and current. These needs have taken on an even greater level of importance in light of the high level of sensitivity and level of complexity shown by the technology that is in use today (James, 2021).

Independent power systems have been proved to be not only feasible, but also very practical, thanks to the advancements achieved in the research and development of alternative sources of energy over the course of the last several decades (Rodriquez, 2021). However, for a number of different reasons, the majority of these systems only produce direct current (DC), and they typically only do so at low voltages. In point of fact, there is now a wide variety of generating equipment that is now available to allow individuals to take advantage of just about any renewable source of energy. Alternating current (AC) is regarded as the best and most practical kind of current, despite the fact that it is the kind of current that is used in the overwhelming majority of households. This is the consensus among most people.

Therefore, there is a need to be able to convert direct current (DC) to alternating current (AC), which will be of a constant frequency and also be used to power electrical circuits either in homes or in industries. This ability to convert direct current to alternating current is called direct current to alternating current conversion. An inverter is the name given to this kind of electrical instrument (James , 2022).

An inverter is a device or apparatus that uses power electronics to convert direct current to alternating current. This allows the direct current power produced by these generators to be used with regular alternating current appliances and/or mixed in with the power generated by the existing electrical grid.

An inverter is a piece of electrical equipment that changes direct current (DC) into alternating current (A.C); the converted A.C may be set to any desired voltage and frequency, thanks to the use of the proper transformer, switching, and control circuitry. Inverters are often used to convert direct current (DC) electricity from sources such as solar panels or batteries into alternating current (AC).

The outputs socket on this inverter is intended to provide a continuous alternating current supply of 220 volts to the loads that are connected to it. Even when the a.c. mains supply is no longer accessible, it continues to provide a continual supply of a.c. to the output socket. When the AC main supply is active, electricity travels via the inverter to the portion that contains the AC mains sensor, the relay, and the battery charging section. The relay receives information from this a.c mains sensor on the availability of a.c mains supply. When a.c. mains signals are received by this relay from the main supply, the relay then sends those a.c. mains signals on to the inverter output socket in a direct manner (Therja , 2019).

An example of a high power electronic oscillator is the electrical inverter, which may range anywhere from 220-240 volts and 50 hertz. Because early mechanical AC to DC converters were designed to operate in reverse and were therefore "inverted" to convert DC to AC, the term "inverter" was given to this piece of electrical equipment. An inverter is used to convert direct current to alternating current and serves the opposite purpose of a rectifier.

If one wants to get an inverter with a power output of 5000 watts, for example,

Total load to be connected = 5000watts

0.8 is the power factor (all inverters have a power factor between 0.6 and 0.8)

Inverter VA = 5000/0.8 = 6250 VA

Therefore, use an inverter with 7000 VA to power loads of 5000 watts.

1.1 	OBJECTIVES OF THE PROJECT

This project, assesses  the design and construction of 5kvainverter. The primary objectives or undertaking this project is for the following reasons:

1. To provide an uninterruptible alternative power supply that will be able to power the street light in the department of electrical and electronics engineering building block.

2. To design an electrical system capable of producing power from a 12v D.C battery that will produce an output of 5000watts, 50Hz–240v which Will be used to drive electrical appliances.

3. To improve our understanding on simple electrical designs, building of electrical circuits and basic principle of operation of inverter.

4. To actualize in practice the principle of circuit design and analysis.

1.2 SCOPE OF THE PROJECT

This project covers the design and construction of 5KVA, 220-240volts inverter with the following stages.

i. Power Supply unit.

ii. Inverting unit

iii. Power transformer unit

iv. Triggering unit.

The scope of this project is primarily to show how the low voltage D.C power supplied is used to energize the circuit. It will also show how the inverter units convert the low voltage D.C into a low voltage A.C in form of square wave. The triggering unit provides the trigging pulse needed by MOSFET to operate.

In general, an inverter system has many benefits and features such as:

- Noiseless, Fuel and Maintenance free.

- High charging current for quick recharging up to 5 times faster.

- Bypass mode allows for charge only.

- Generator compatible allows longer runtime.

- Unlimited battery expansion capability to increase runtime.

- UPS Function for auto changeover.

- automatic voltage regulator

- Brownout and over voltage protector

- Small and light in dimension

10. Reverse polarity warning

1.3 ORGANZATION OF THE PROJECT

The 5KVA, 220-240v, 50Hz inverter is constructed using the following components:

Resistors,

Capacitors,

Semiconductor diode

Transistors (MOSFET),

Integrated circuits (ICs)

Transformer

The MOFSET is the major component used in the inversion of Direct Current (D.C) to Alternating Current (A.C).

This 5KVA inverter project report is arranged in the following sequence:

- Chapter one discuses a general introduction to the project. It gives us a background of the project. Helping us to see the relevance of this inverter project in the world today. It also discusses the objectives of an inverter as well as its type

- Chapter two discusses the various literary review opinions and ideas that various authorities in the world of electronics, discusses about the inverter system.

- Chapter three discuses a general description or the various components used in the construction of this project.

- Chapter four discuses the construction procedure.

- Chapter five shows how the project was packaged and its conclusion.

SUMMARY

In this chapter, an inverter has been described and introduced. The relevance of an inverter system as well as its objectives was also shown in this chapter one.

CHAPTER TWO

2.0	LITERATURE REVIEW

We will begin with literary review of inventers from its origin till date. In his book “ORIGIN OF INVERTER: OWEN EDWARD” showed that from the late nineteenth century through the middle of the twentieth century, D.C. to A.C power inversion was accomplished using rotary inverters or Motor-Generator sets (M-G sets). In the early twentieth century, vacuum tube and gas filled tubes began to be used as switches in inverter circuits. The most used type of tube was the thyratron.

The origins of electromechanical inverters explain the source of the term inverter. Early A.C to D.C to converters used an induction or synchronous A.C. Motor direct-connected to a generator so that the generator’s commutator reverses its connections at exactly the right moments to produce D.C. A later development is the synchronous converter, in which the motor and generator windings are combined into one armature, with slip rings at one end and commutator at the other end and only one field frame.

The result with either A.C. in D.C. out with an M-G set, the D.C. can be considered to be separately generated from the A.C. with a synchronous converter, in a certain sense it can be considered to be “mechanically rectified A.C”. Given the right auxiliary and control equipment, an M-G set of rotary converter can be “run backward” converting D.C to A.C. Hence, an inverter is an inverted converted.

It should be noted that since 1954 there have been many high voltage D.C transmission system implemented around the globe with the advent of DC/AC converters; allowing the easy stepping up and down of D.C voltage.

Like D.C power, there exist many devices such as power tools, radio and TVs that run OFF of A.C power. It is therefore crucial that both forms of electricity transmission exist; this world cannot be powered with one simple form. It then becomes a vital matter for there to exist easy ways to transform D.C to A.C power and vice versa in an efficient manner.

According to C. J. HATZIADONIU member IEEE from his research agree that an inverter provides a solution that can that solves the grid interface.

F. POURBOGHAT member IEEE from his studies has shown that inverter system is the way out. He was able to show that the inverter system like the 5000w, 220-240v inverter and other inverters can be used to provide the grid interface and the power conditioning of certain disturbed generators and energy storage system. This work agrees with the above mentioned member of IEEE.

A Nigerian electronics engineer SAMUEL WILLIAMS, IEEE member, in his studies has shown that inverter system has a lot of applications in the world of electronics. An inverter system converts the D.C electricity from sources such as batteries, solar panels or fuel cells to A.C electricity.

In the same sense, BEDFORD B. D. HOFT (1964) in his book “Principles of electronics” shows that this system can also be applied in uninterrupted power supply, induction heating variable – frequency drives, electric drives etc.

JOSE (Aug., 2002) explained in his book, “multilevel inverters” how an inverter D.C to A.C. This is more than one technique. The most common is to use an electronic switch to convert the D.C into a square wave. The square wave is filtered to make it a rough sine wave. This can then be passed through a transformer to the desired voltage. The advantage of this system is that it is very efficient. The disadvantage is that the sine wave produced is not all that good a sine wave and some devices (A.C motors) for examples sometimes problems when being powered by inverters.

BOB MARTY AND JOHN SCOTT, N.Y U.S.A in their book “General electric” described the basic design of an inverter circuit. They show that in one simple inverter circuit e.g. 5000w 220 – 240v. 50Hz inverter, D.C power is connected to a transformer through the center tap of the primary winding. A switch is rapidly switched back and forth to allow current to flow back to the D.C source following two alternate paths through one end of the primary winding and then the other. The alternation in the direction of current in the primary winding of the transformer produces alternating (A.C) current in the secondary circuit.

MARK THMPSON, CEO of Fairchild semiconductor described controlled rectifier inverters since early transistors were not available with sufficient voltage and current ratings for most inverter applications. It was the 1957 introduction of the thyristor or silicon-controlled rectifier (SCR) that initiated the transition to solid state inverter circuits.

SHAM CHOUDURY, member IEEE describes the MOSFET INVERTER GATE DRIVE. An inverter for producing A.C from a source of D.C electric power is analyzed. The power circuit includes the power transformer with the current flow through the two halves of the primary winding. It’s being controlled by a pair of power MOSFETS. A gate driver circuits which includes a driver transformer produces control signals which are substantially 1800 out of phase across the center tapped secondary winding of the driver transform. A pair of Fast-Off, slow – on coupling circuits consisting of a diode connected in parallel with a resistor couples gate control signals to the gates of the power MOSFETS. Each coupling circuit is effectively in series with one of pair current limiting off-time resistors, the latter being connected in series with the two halves of the primary winding of the gate driver circuit control transformer. The relationship of resistances of the resistors of the coupling circuits to the resistances of the current limiting resistors of the gate driver circuit determines the differences between the turn-off times of the MOSFET. The current limiting resistors prevent burnt out of the gate driver contact transformer and the gate control transistors.

2.1 DESCRIPTION OF COMPONENTS

The various components used in the constitution of this 5000watts 220-240v inverter from the supply unit to the triggering units, is in this chapter listed and described. They include resistors, capacitors, bipolar junction transistors known as BJT and unipolar transistor known as MOSFET, semiconductor diode. We will start with the description of transformer principles.

2.2 TRANSFORMER FUNDAMENTALS

A transformer is a piece of apparatus which its operation is by electromagnetic induction. This also comprises of two circuits which a change in current in one circuit leads to a voltage induction in another circuit by a phenomenon known as mutual induction.

The circuit of a transformer is made up of primary and secondary circuit. Such transformer circuit comprises of coils, E and I lamination and also former. The coil is wounded on the former to assist the coupling between them and this improve their mutual inductance power from the A.C. mains supply to one coil or sets of coils, the voltage across these coils being either higher (step-up) or lower (step-down) the voltage supplied. The coils of which power is fed, is known as the PRIMARY and those from which power is taken is known as SECONDARY.

The coil has different sizes of wire gauge. The size of each winding bears a different of definite relationship to the power supplied or drawn from it. The number of turns is controlling the voltage and the resistance is expressed as the diameter of the wire controlling the current. The E and I lamination of a transformer is build-up of thin sheets of iron and this is a method used in all practical transformer.

Laminations are insulated in several ways by chemical treatment of the metal surface by vanish or by very thin cemented paper. When laminations are being inserted into the finished coils on their former, they must be alternated i.e. E must go in from left and I from right and E from right and I from left and so on. The lamination  brought into light contact with no air gap.

In the construction of this 5000watts inverter, a step-up transformer is used. This transformer core which are E and I type are usually made up of electromagnetic materials of high permeability. The rating of the core depends mainly in the maximum current it can safely carry. So during the design of this transformer, the size and the type of core, must be determined and considered.

The transformer holmic or copper losses depends on the winding current as the total losses determines the maximum transformer temperature, its rating must include information of the voltage and current, the product of the current and voltage would evidently be a rating measure. That is why transformer is rated on their VA, KVA and KVA. The general formula connecting the number of turns of winding in a given voltage, cross sectional areas of the core, operating frequency and flux density is given as:

E = 4.44FHNA

Where	E = voltage in volts applied on appearing across the coil

N = Number of lines of magnetic flux per square include in iron.

A = Cross-sectional area

H = 60,000

The transformer operates in such a way that when a voltage is applied to the primary windings, an alternating current (ac) is produced in that winding; this current induces an alternating magnetic flux in the transformer core. Since it works by electromagnetic induction principle, the flux links the whole core and coils.

Fig. 2.1 laminated core type of transformer

The transformer used in this circuit is of the rating 24V 1000MA Fig. 2.1 step down transformer with centre tapped terminal.  It consists of two separate winding (primary and secondary windings) which are not electrically connected

2.3 Capacitors

A capacitor is an electronic component made of two parallel plates separated by dielectric.  It is used to store electric charges in an electronic circuit.  It blocks AC and is used for smoothing after rectification. Other capacitors include mica capacitor, paper capacitor, ceramic capacitor; the electrolytic type is used in this project.

|  | Values | Voltage ratings |
| --- | --- | --- |

Table .2.1 various values of capacitors

Fig.2.2 .2

+

-

Electrical symbols of Capacitors

2.4 Resistors

Resistors as the name imply is a device used to limit the rate of current flow to different parts of electronic circuits.  The higher the value, the lesser the current flow through it.  These resistors are made of mixtures of carbon and clay which are pressed and molded into rods through heating.  Values range from few ohms to mega ohms.

Fig. 2.3 electrical symbols of resistor.

|  | 1k | VR5 | 100k |
| --- | --- | --- | --- |
|  | 2.2k | VR5 | 50k |
|  | 100k | VR5 | 220k |
|  | 10k | VR5 | 1k |

Table 2.2 values of resistor.

  - TRANSISTORS

Transistor is an active device that plays a significant role in the design and construction in electronic circuits like switching circuits and amplifying circuit. Transistor is able to achieve this function, but its connection with other components such as resistor, capacitors, inductor etc, and matters a lot.

| 12Vdc | Transistor output |
| --- | --- |
| 12Vdc | Pin 1 |
| 18Vdc | Pin 4 |
| 20Vdc | Pin 6 |
| 20Vdc | Pin 8 |
| 220Vac | Pin 14 |
| 220Vac | Output voltage |

Table 2.3 transistor values

TYPES OF TRANSISTOR

Practically there are two types of transistor, these include:

- Bipolar Junction Transistor (BJT)

- Field Effect Transistor (FET)

    - BIPOLAR JUNCTION TRANSISTOR

This bi-polar transistor consists of two semi-conductor diodes where the P N Junction of the two diodes is connected back-to-back thereby leaving the other two ends. This has three terminals namely: Emitter, Base and Collector. We have basically two types of bipolar transistor: (i) NPN (ii) where P is positive and N – negative.

In NPN type, a P-type material is sandwiched between two n-type materials.

In PNP type, the n-type material is sandwiched between two p-type materials.

Fig.2.4  FIELD EFFECT TRANSISTOR (FET)

Unlike the bipolar junction transistors, which are all basically similar in spite of a variety of constructional farms, the FET is more a collective term for a family of transistor devices, of which there are two physical principal groups.

(i)	Junction FET (JUGFET)	(ii) Insulated type FET

Junction FET can be in two forms, p-channels and n-channels, depending on the type of semi-conductor. The IGFET (Insulated field effect transistor) has two distinct modes of operation, one known as the depletion mode and the other enhancement mode, each of these modes are subdivided into p-channel and n-channel.

Because, in this project we used an IGFET, we are going to discuss about IGFET which we used in this design. A simplified form of construction is depicted below in which the main bulk of material is low-conductivity silicon, this termed the SUBSTRATE. For an IGFET, this substrate is p-type silicon into which is introduced a thin n-channel terminated in the drain and source electrodes.

The gate is separated from the channel by a layer of silicon dioxide which is an insulator ensuring that the gate is isolated from both source and drain. The silicon dioxide can be thought of as the dielectric in a capacitor consisting of two plates, one being the gate and the other the channel.

In the IGFET, electron flows from drain to source. However, variation of the gate to source voltage produced a distinctly different effect. If the gate is made positive with respect to the source, drain current is increased. Because of this increase, the FET is said to be enhanced. Conversely, if the gate is made negative with respect to source and hence to channel, the source-drain current will decrease and the FET is said to be depleted. Below are the symbols or n-channel and p-channel.

Although there are differences below the IGFET symbols. These are not applied in practice because this could be confusing. Finally, the IGFET sometimes termed MOSFET due to metal oxide and silicon form of construction, and even MOSFET might be further constructed as most MOSFET

SUMMARY

This chapter has shown the various literary reviews, opinions, research work and findings of various authorities in the world of electrical electronics engineering. It has shown the origin of inverter system, what it comprised of in the late nineteenth century and how it has been improved within the years. It has also taken its time to explain the circuitry of modern inverters which incorporates a MNOSFET.

CHAPTER THREE

3.0 POWER INVERTER BLOCK DIAGRAM

The complete design analysis of the inverter system will thus be undertaken. All the units of this system will be analyzed showing the various parameters that were taken into consideration for the design of this 5000w, 220-240v, and 50Hz inverter system. The block diagram will thus be shown below

BATTERY, POWER SUPPLY UNIT

OSCILLATOR, DRIVER STAGE AND BUFFER UNIT

POWER TRANSFORMER STAGE

CHANGE OVER STAGE

FEED BACK

O/P TO LOAD

FIG.3.1  BLOCKS DIAGRAM OF 5KVA INVERTER

3.2 SYSTEM OPERATION WITH BLOCK DIAGRAM UNIT DESCRIPTION

3.3 BATTERY, POWER SUPPLY UNIT

This is designed to meet the need of some who want a 24v battery. This charger is in three stages vis:

- the power source

- the current limiting

- the float charge stage

At the current limiting stage, transistors and resistors plays the vital roll in the current limiting, when the transistor switches on, it shorts the circuits the gate voltage of the second transistor there by restricting the current flow through the battery under charging. This transistor will only switch when voltage across its base emitter is up to 0.7volts. The voltage drop across the resistors determines this, if the voltage drops across the resistors is up to 0.7volts, then the transistors switches on then current through the batter/ sense resistor. This is in accordance with OHMS LAW.

At the float charge stage, when the battery voltage builds up to 28volts d.c, it is considered large enough to make the zener diode reach its break down voltage. And once this is done, the transistor switches on and consequently short circuit gate voltage. The charger or the battery is now said to float charge. The LED ( light emitting diode) comes on when the battery is full.

The power loss in inverter and current consumption during charging and the working of an inverter depends on many factor like conducted load, battery efficiency and maintenance. During operation, inverter will heat up and the transformer will dissipate heat. So many energy will be lost which reduces the efficiency of the inverter. Proper charging of the battery and its efficiency to hold charge are two very important aspects. Input voltage from the AC supply should be up to 230volts for proper charging of the battery. Charging current depends on the time taken to complete the charging process and also the charge condition of the battery. If the battery is discharged to 80% of its efficiency, it will take 5 to 7 ampere current during the first few hours for proper charging of the battery.

3.4 Battery capacity.

If  the load takes 120 mA current in 1 hour, maximum capacity of the battery should be 0.12A X 24 = 2.88Ah. best method to keep the charge and discharge cycles perfect is to stop discharging the battery till it maintains 20% charge. Hence to retain 20% charge, the capacity of the battery should be C/0.8

Discharge rate: Lead acid battery have few amps hours if the discharge rate is fast. Generally, the lead acid battery is rated for 20 hours provided the discharge rate is slow. At high discharge rate, the capacity of the battery drops steeply. Suppose the battery is 10 Ah and its discharge rate is 1C, the capacity of battery reduces to 5Ah in one hour. So the following tips should guide you to keep a steady discharge rate of the battery.

3.5 Oscillator driver Stage and buffer unit

An oscillator refers to an electronic circuit that has the ability to change a direct current (D.C) into an alternating current (A.C) without any external input. An oscillator comprises of ICs and filtering components like capacitor and resistor. Unlike an amplifier that requires an external input e.g. voice, an oscillator on the other hand does not require external input.

In this construction work, the oscillator used is an S-G 3524 IC. When it is powered by a 12v VCC Direct current (D.C) the oscillator produces an alternating current at its dual output which is now fed to the buffer stage.

3.6 BUFFER STAGE

The buffer stage consists of the transistors. The buffer amplifies that output signal from the oscillator. It operates like the oscillator but it is one amplifier connected in a complementary push-pull method. It is a class B-amplifier.

In this construction work, the buffer stage consists of four N-channels IRF 3205 MOSFET transistor. They are arranged in series, two being connected in series and coupled to one input terminal of the transformer; the other two are also connected in series and coupled to the other input terminal of the transformer.

3.7 TRANSFORMER STAGE

This is the third stage of the inverter system. It consists of step-up transformer. Step-up transformer is a piece of electrical device used to step-up the voltage that is applied in its input terminals. It only operates with A.C (Alternating Current) not with D.C (Direct Current). The output of the buffer stage is fed to the two input terminals of the transformer for a step-up transformer, the transformer. For a step-up transformer, the number of turns in the primary is lower than the number of turns in the secondary. The input of the transformer from the output of the transformer from the output of the buffer stage sets up electric flux in the primary coils. This electric flux links the secondary coils by a technique called MUTUAL INDUCTANCE. This causes e.m.f to be induced in the secondary. Hence there is an increased output voltage at the secondary terminals of the transformer.

3.8 CHANGE OVER STAGE

This stage is an added improvement to the required inverter system. It consists primarily of two relays and a small transformer that is used to energize the relays. The first relay is connected to the transformer output terminal and then to the output socket. The second relay is connected to the 220-240v mains supply.

When there is no mains supply (220-240v), the inverter system operates normally. The 1st relay which is connected to transformer output terminal is connected to the socket. Hence load is connected. When there is 220-240v mains supply, the secondary relay which is connected to the life of the mains is also connected to the transformer output terminal is connected to the socket. Hence load is connected. When there is 220-240v mains supply, the second relay which is connected to the life of the mains is also connected to the output terminal of the transformer. This is used to charge the 12v D.C battery. Because the small transformer is connected to the mains LIFE, it energizes the 2nd relay and it makes contact with the LIFE mains thereby transferring voltage to the output terminal of the transformer, the output terminal of the transformer. The battery starts charging and voltage is supplied to the socket through the first relay.

When there is no mains supply, the small transformer is energized which de-energize the second relay. The 24v D.C battery will supply voltage which is converted and amplified. Then it is induced in the secondary terminal which supplies voltage of the socket, through the first relay. Note that this happens automatically such that it is not noticed by the human eye.

3.9 FEEDBACK

The oscillator IC (Integrated Circuit) used has provision for compensation. The compensation acts to compensate and feedback the error to help the inverter system to continue working. When load is applied to any electrical system, there will be considerable voltage drop. This becomes an error to the inverter system. This error is feedback to the oscillator and the oscillator acts so as to compensate for the voltage drop. Hence this will cause the inverter system to continue to supply its normal voltage regardless of the voltage drop. The oscillator acts to compensate for the voltage drop.

220V

Out put

220V

12V

BC 321

10μf

4.7K

3.9K

R1 2.2K

1K

100K

47μf

1μf

V+

IN 7808

220μf

1K

POWER STAGE

100K

BC 337

1K

BC 337

K

100K

Q4

TJP 122

Q8

21

D2

D1

12V

220V

Filter

2.2μf

1

2

3

4

5

6

7

8

15

15

14

13

12

11

10

9

SG 3524

104

100k

100k

IN 4007

100K

104

4.7k

10K

104

4.7K

o

o

OUT

P

LED

TJP 122

400V

0.4 f

600V

FEEDBACK TO POWER INVERTER SENSOR

Driver Stage

Q7

IN 4001

FIG. 3.4: CIRCUIT DIAGRAM OF 5KVA POWER INVERTER

3.10 COMPLETE CIRCUIT DIAGRAM OF INVERTER

3.11 PRINCIPLES OF OPERATION

All electronic components need a convenient dc voltage to function effectively.  The UPS is designed to provide about 20 minutes constant power to electronic appliances connected to it.  The circuit is designed to operate in such a way that it is connected on-line to the system.  In this case, it continuously powers the protected load from its energy reserves stored in a lead acid battery, while simultaneously replenishing the reserves from the ac power.  It also provides protection against all common power problems.

The transformer is used to step down the voltage to about 12vac which consequently transferred to the transistor terminal, the voltage is inverted to a dc supply which then serves as input to the IC HEF 4069 UB.

In this project, the power supply section accepts the local main supply at 220-240V rms 50Hz and converts it to a form that is suitable for the internal circuit of the system.  This means converting the voltage ac mains into a fixed stable dc voltage. The dc voltage output has to remain substantially constant against changes in load current and temperature.

The power supply mains ac (220 -  240v) Vac is converted to about 12vac.  The centre tap transformer connects the 12Vdc battery to the relay coil which switches on and off automatically.  The transistors t1 and t2 serves to receive the voltage from the transformer which is converted to dc voltage.  Resistor R1 and R2 absorbs same ac components with the help of C1 and C2 after the transistor t1. They also couples the output of the transistor to the IC HEF 4069UB.  The source of transistor t1 and t2 are grounded.

The variable resistors VR1  and VR2 ensure that the frequency and voltage are varied in accordance with the tune of the output desired.  At the inverter, the voltage is converted back to ac with its attendant increase in voltage to 240V ac.

A dc battery (24Vdc) connected at the far end of the centre tap transformer ensures constant or uninterrupted power where utility power fails.  There is also provision of voltmeter at the output which serves as an indicator to the user to ascertain the quantity of voltage outputted and also an indicator to indicate the charging status.

The dc lead acid battery is continuously recharged as it discharges so that in event of power failure, the reserve energy left the battery can be used to power electronic equipment connected to it for a period up to 20 minutes.

The relay automatically disconnects the mains power and transfers its operation to the dc lead acid battery in event of power failure.

CHAPTER FOUR

4.0 DESIGN AND CONSTRUCTION PROCEDURE

4.1 FEATURES OF THE DEVICE

This construction work (5000w, 220-240v inverter system) has five major features which will be explained below:

4.2 CONSTRUCTION OF THE RECTIFICATION CIRCUIT

The type of rectification used in this construction is a full wave rectification. It offers current the tendency to flow in both phases that is positive and negative phase. It uses four diodes as we are going to see later in its circuit. The full wave bridge rectifier is available in three distinct physical forms but the form used in this construction of 5KVA power inverter is the one with four discrete diodes types. The circuit that shows how it is being arranged is shown below

D1

D2

D3

D4

Fig. 4.1 full wave rectification circuit

During the negative half cycle, secondary terminal B becomes positive and A becomes negative. D2 and D4 are forward biased. Consequently, point Q as cathode. The output voltage across R have a frequency trice that of root means square [R.M.S]

4.3 OSCILLATOR CIRCUIT

As shown from the block diagram, the oscillator is the first stage of the inverter system. The inverter oscillator is shown below:

The inverting stage converts 24vdc to ac and then boosts the signal to 240v with the help of the transformer. Circuit diagram is as shown below.

Fig. 4.2 inverting stage

Basically HEF 4069 UB IC is an astable relaxation oscillator.  The oscillation frequency is mainly determined by R1C1 provided that R1C2 << R1C1.

The oscillator circuit is as shown above. The S-G 3524 IC (Integrated circuit) has a lot of internal configurations that helps it to function as an oscillator. It comprises of ICS and filtering components like capacitor and resistor. The oscillator produces a pulsed width output.

ON

OFF

Fig. 4.3 puls width switching

This particular oscillator has to switch ON/OFF 50 times/sec. Therefore the frequency must be 50HZ. The 10th terminal of the oscillator is known as SHUT-DOWN TERMINAL. The shut-down terminal is used to shut-down the inverter. The shut-down depends on the designer. Whatever he wants to check or control in the inverter can be used as it’s shut-down. This particular inverter employs shut-down as automatic changeover, to switch-over to NEPA. The 9th pin is known as the compensation terminal. The compensation acts to compensate and feedback the error so as to help the inverter to continue supplying its required voltage value regardless of voltage drop because of load.

When the Vicky VCC (24v) is connected as shown in the diagram, oscillator converts the 24v D.C. into an alternating current. This is given out in the output terminal of the inverter. The output terminals, is two because the inverter needs dual output which can be used to drive the two MOSFET.

The 6th & 7th Pin is known as TIMING RESISTOR (RT) and timing CAPACITOR (CT) respectively. They are both responsible for the frequency.

F	= ( 1.18  )

RTCT

2

CT 	= 104     0.1μF

F	= 50HZ

50 =    1 .18

RT x 0.1

2

50 x 2 =   1.18		=	  100		=    1.18

RT x 0.1		RT x 0.1

Rt =	    1.18		= 118,000Ω

100 x 0.1

= 118KΩ

4.4 BUFFER CIRCUIT

It has been explained before that the buffer stage is responsible for amplifying the output signal from the oscillator. The buffer stage consists of 4 N-channel, IRF 3205 MOSFET TRANSISTOR. Its connection is shown below:

Fig. 4.4

BUFFER STAGE CIRCUIT

Decision Consideration

- Maximum current = 200AMP

- Load voltage = 24V

- Frequency = 50Hz

Shown above is the circuit diagram of a buffer stage. As shown it consists of four IRF 3205 N-channel MOSFET transistor. It has two output which is connected to the input terminal of the transistor.

It should be noted that the number of MOSFET used depends on the current rating of each MOSFET. If a lesser current rating is used, the MOSFET acts as a fuse. Therefore, the higher the number of MOSFET, used, the better the inverter operation.

In this construction of a 5000watts inverter, the MOSFET to use was determined as shown below:

P = IV

Where P = 5000watts

V = 12V

I = P		=	5000w

24v

= 200.3A

Therefore, for the inverter to operate properly, the input current rating required by the MOSFET must at least be equal to 200.3A.

The current rating of an IRF 3205 MOFET transistor is 100A according to the data book. Using 4 of these MOSFET gives a better operation to the inverter. Each part of the MOSFET acts on its own delivering the same amount of output to transformer just as the other part of the buffer. Each part delivers a total of 200A to the transformer.

A resistor is connected between the source and the Drain so that when there is no positive (+ve) signal from the oscillator, it separate the source from drain.

CHAPTER FIVE

5.0 CIRCUIT CONSTRUCTION, TESTING  AND PACKAGING

5.1	component sourcing

Component Sourcing is an essential and delicate part in circuit construction. Sometimes a well designed circuit is rendered useless due to unavailability of component parts.

In this part of the world, “NIGERIA”, we depend solely on imported components such as ICs, transformers, electronic relays, flip flops, and a host of others.  Due to this limitation, a designer tries as much as possible to limit his design to most of those markets.  In these markets, some are usually lured by the sweet tongued retailers into buying a given component in name of “close substitute” i.e. a component that can equally perform effectively like the one used in the original design which is not necessarily true.

For the purpose of this project, most of the components used such as IC HEF 4069UB, 2.2f capacitors, and resistors of variable resistances, transformer, transistors and a host of others were sourced in the local market.

5.2	Prototype Construction

A typical prototype technique is the bread board construction or layout.  It is a temporarily carried out layout to test the working of the circuit designed.  The bread board is a plastic plate with holes running both vertically and horizontally.

Fig 5.1

The holes are embedded with copper tracks to form conduction lines with which the components are plugged into. Initially, the components were counted with the aid of the circuit diagram, all the component assuming a convenient position on the bread board.  The IC is fitted the correct way with both conducting leads across the centre groove.  Other circuit elements like the switches, output socket, DC battery and voltmeter are connected outside the breadboard with the help of jumping wires; hence they cannot be plugged in the bread board.

The bread board construction is usually essential because modification of the circuit can be easily achieved.  The component can be used several times over to make different circuits.

Although it’s major limitation is that it may easily develop poor contacts and there is danger of short circuit as base components may touch each other.

5.3	actual constructions

The strip board is used for the permanent construction.  The strip board is a matrix board which consists of parallel stripes of copper known as tracks fixed on to an insulating board.  All the tracks are of equal width and space apart.  It is used to achieve permanent fittings of components as they are carefully soldered to make permanent joints.

To achieve the final finished product of this project, the strip board layout was carried out.  The different sizes of component were taken into consideration during the circuit layout on the graph sheet.  For easy connection, the boards were numbered alphabetically like A,B,C,D etc.  It reduces the chances of making mistakes.  Note:  All makings were done on the non copper side of the strip board.

Fig. 5.2 strip type of vero board

The order of placing components is not essential, although more delicate components such as IC and transistors are mounted with great care. Though some people prefer starting from one end of the strip board and work across, all soldering are on the copper side.  Before using the strip board, it is first cleaned with smooth abrasive paper (sand paper) to ensure dry surface which in turn will produce a neater solder contact.  The power rating of soldering iron used is 20 watts.  The heat produced being enough to achieve good soldered joint.

Dry joints are carefully avoided as it may lead to partial contacts or open circuit in the system.  However, dry joints have been attributed to so many failures recorded in a project work.  After soldering, the leads are carefully cut with slide cutter to ensure neat work.

Later the strip board is checked of bridged tracks and mistakes from the construction, positive feedback avoided as the output wires made neat contact and are not too close to the input leads.

5.4 TESTING OF THE INVERTER SYSTEM

The following test was carried out in the inverter system before it is used to power the meant appliances:

1.	Insulation resistance test: this test consists of testing the insulation resistance between conductors and testing of insulation resistance to earth. In testing of insulation resistance between conductors, the resistance of the dielectric between the two conductors is high. The purpose is to detect any leakage escaping to earth or between conductors due to breakdown of insulation or dampness. In testing of insulation resistance to earth, the testing is done between the live wire conductor and the body of the containing wire usually connected to earth directly or otherwise

2.	Continuity of conductor test: this test is carried out to verify the continuity of the conductors. Its correctness is only seen in open circuit fault where the meter will indicate zero resistance.

3.	Polarity test: This is done to ensure that all controllers are connected to the live wire or conductor only. This test is necessary so that if the switch is in OFF position, the output socket or all other appliances connected to it is quite dead and is safe to work on incase of maintenance and repair. To find the correct polarity, test scope or test lamp is used.

5.5	packaging

The electronic industries nowadays are faced with competitions, each trying in one way or the other, to out do their neighbor.  To this end, a well thought out packaging not only uplifts the image of a firm but also have attractive luster attached to it. It should be known that the design and construction of an electronic system cannot be thought to be complete without a fine casing to house the stages involved in the system.  People attached great importance to the shape and design of the casing without considering the contents.

In fact a good packaging aids in the marketing of a product.  In designing a casing of say electronic system, certain things have to be considered, such includes the physical quality or quantity of the stages in the system, is the system subject to external interference such as radio waves, are the system prone to temperature changes due to thermal heating and cooling of resistors and other associated components?

In this project, the casing was built in such a way that the components are easily accessible in terms of maintenance and repairs. The casing has screw able cover and the provision for components or circuit fittings are made.  The tracks and wires on the strip board do not touch the metal case.  In preparing the casing, a plain sheet of metal is obtained and a given dimension measured out with the measuring tape.  The dimensions are marked out with a scriber and then cut with a cutting machine to the dimensions marked on the metal.  The whole centers were punched with the centre punch and drilled into appropriate size with the drilling machine.

After this, the metal was bent with the help of a vice, hammer and some other small accessories.  Finally, screw nails were used to screw the necessary junctions together to place the casing intact.

Fig .5.3 casing  (a) Top            (b) Side         (c) Front of the casing

5.6	trouble shooting

Trouble shooting involves diagnosis (fault tracing), location and reticulation of faults. Skill in diagnosis allows identification of faults which arises in a system, so that their cause may be found quickly and accurately.

To develop this skill, a logical approach to fault tracing is employed.  First there is need to verify the fault by operating the system.  After which careful inspection on the system is made, adopting both cold and hot inspection if cold inspection fails to yield result.  Later the system is sectionalized into different stages and then the fault is traced at each stage.

In this project, when the power was first switched on, the indicator failed to light up.  This leads into diagnosing the fault and subsequently rectifying it.  The fault was traced to open circuit on the indicator lead due to poor soldering.  Instruments necessary for trouble shooting includes: oscilloscope, manual and multitestermeter.

Table 5.1 BILL OF ENGINEERING MEASUREMENT AND EVALUATION (BEME) AS OF December 2013

| Component | Description | Qty | Unit Price (N) | Amount (N) |
| --- | --- | --- | --- | --- |
| Transformer | Step up 500 watts Step down 100watts | 1 2 | 30000 500 | 3000 1000 |
| Capacitors | 1000µF/25V 2000µF/40V | 2 1 | 100 100 | 200 100 |
| Resistors | 10K 100K 1K, 2.2K | 6 1 3 | 10 10 10 | 60 10 30 |
| Variable resistor | 1100K 50K 10K 1K | 3 2 1 2 | 20 20 20 20 | 60 40 20 40 |
| IC | HEF 4069UB | 1 | 120 | 120 |
| Zener diode | 13V IN 4743A | 5 | 40 | 200 |
| IC socket | 14Pin | 1 | 150 | 150 |
| Power regulator | 7812 | 1 | 80 | 80 |
| Paper condenser | 104 | 1 | 20 | 20 |
| Diode | IN4001 IN5392 | 10 8 | 30 15 | 300 120 |
| Relay | 12Y 10AMP | 6 | 250 | 1500 |
| Transistor (MOSFET) | IRFZN44 | 32 | 150 | 4800 |
| Nut | 1Packet | - | 1000 | 1000 |
| Heat sink | Small size | 2 | 150 | 300 |
| Lead | Red, Yellow, Green | 3 | 10 | 30 |
| Vero board | Small size (dot) | 1 | 200 | 200 |
| Casing | Portable | 1 | 2500 | 2500 |
| Mains lead | 1.5mm | 2yards | 60 | 120 |
| Packaging | - | - | 12000 | 12000 |
| Transportation | - | - | - | 3000 |
| Cable | 10meters |  | 200 | 2000 |
| Miscellaneous | - |  |  | 15,000 |
| Lead acid battery | - | 1 | 50,000 | 50000 |
| Total |  |  |  | 125000 |

CHAPTER SIX

6.0 CONCLUSION AND RECOMMENDATION

6.1	conclusions

The implementation of any design is not all that easy.  It needs absolute patience and dexterity.  A sound knowledge in electronics/ physics is always needed in a project like this.  Since a project involves starting from the known to the unknown, a designer must know that he wants and how to locate it.

Having the above in mind, this work, power inverter with auto charging panel and changing panel  is embarked upon which are now available in most places in Nigeria today.

As has been discussed earlier, this Power inverter is an analogue type.  In this design, the transistors and IC used are readily available in the market.

The major problem to the workability of any design is an availability of the desired material.  In this project for instance, a number of difficulties were met during the course of designing and construction some components as was stipulated in the design were not available in the market and so a modification of the design was effected to suit the market trend.

It is also necessary to mention that another important constraint to any design is finance, otherwise in this design a more elaborate type having so many specification could have been undertaken.

6.2	recommendations

This work is highly recommended not only to researchers and students but also to anyone who may which to know the operation and construction principles of a power inverter.  The uses and functions of some of the components used in the construction work are elaborated.

However for the purpose of mastery of the topic, the audience is strongly advised to consult the relevant sections of the “text” written in the references.

It should be strongly advised that this Power inverter should not be used to substitute the utility power or the generator as it is only designed to compliment them.

REFERENCES

Buckey, P.M, Basic Electronic Circuit, E and FN Spin Ltd, London 1980.

Corner, D.J; Modern Electronic Circuit Design, Addision Wesley Publishing Company 1976.

Edward L. Owen; Origin of Inverter, IEEE Industrial Application Magazine, Jan/Fed Edition Pg. 64 – 66, 1996.

James, Eke; Basic Elements of Physical Electronics EL Demark Pub. 2003.

James Eke; Short course on Solid State Elkectronics Unpublished.

James Kylecourpy; Light Transistor Etched Porject, Howard Sams and Co. Inc. Indian Poles 6 India 1963.

Rodriquez, Jose; et al, Multi Level Inverters, A Survey Topologies Control and application IEE Transactions on Industrial Electronic pg 49, 2002.

Therja B.L. and Thereja A.K. (2005); Electrical Technology: pg 4, 116 1116, 2060 and 212.

Buckey, P.M,(2022). Basic Electronic Circuit, E and FN Spin Ltd, London.

Corner, D.J; (2021). Modern Electronic Circuit Design, Addision Wesley Publishing Company.

Edward L. Owen;(2022). Origin of Inverter, IEEE Industrial Application Magazine, Jan/Fed Edition Pg. 64 – 66.

James, Eke(2021); Basic Elements of Physical Electronics EL Demark Pub..

James Eke(2022); Short course on Solid State Elkectronics Unpublished.

James Kylecourpy(2022); Light Transistor Etched Porject, Howard Sams and Co. Inc. Indian Poles 6 India.

Rodriquez, Jose; et al,(2021). Multi Level Inverters, A Survey Topologies Control and application IEE Transactions on Industrial Electronic pg 49, 2002.

Therja B.L. and Thereja A.K. (2019); Electrical Technology: pg 4, 116 1116, 2060 and 212.

Gupta, J.B. (2008): Electrical Power; page 197.

Gupta, J.B. (2008) Electronic Device and Circuit pg 321.

Comer D.J.; Modern Electronic Circuit Design, Addison Wesley Publishing Company 1976.

Horsely M.P.; Electronic in Practice, Basis Blackwell Ltd, Oxford USA 1986

Jacob Millman and Christos Chalkias; Integrated Electronics, McGraw-Hill Book Company-Singapore 1971

James Eke; Basic Elements of Physical Electronics El Demark Pub. 2003

James Eke; Short course on reliability and maintainability unpublished.

James Kylecourpy; Light Transistor Etched Project, Howard Sams and Co. Inc. Indian Poles 6 India 1963.

Loveday George; Electronics source book for Engineers, Allahabad.  All Wheeler Pub. Co. Ltd. London 1986

Okechi G.I.; Design and Construction of an Uninterrupted Power Supply (UPS) PGD Project. Unpublished.

Rodriguez, Jose; et al. Multi level investers, A survey of Topologies, control and applications, IEE Transactions on industrial electronics pg. 49, 2002.

Shrader L. Robert; Electronic Communication, New York. Mcgraw-Hill Book Company, USA 3rd Edition, 1975.

Theraja B.L. Electrical Technology, S. Chand and Company Pub. New Delli, 1995.