AN EVALUATION OF CRACK MANAGEMENT TECHNIQUE IN RESIDENTIAL BUILDINGS: A STUDY OF NIGER SOUTH SENATORIAL DISTRCIT

ABSTRACT

The study was designed to find out method used for controlling cracks in residential buildings, in Niger south senatorial district. Among the specific purposes of the study were determining the availability to facilities for controlling cracks in residential building, determine the methods of detecting cracks in residential building, and determining the availability of personnel for detecting cracks in residential building and also the strategies adopted to improve the control of cracks in residential building in Niger south senatorial district. The study adopted description survey research design and the area of the study is Niger south senatorial district. The population of the study includes 258 respondents made up of 120 building team, 50 clients, 50 engineers and 38 supervisors. The instruments for data collection a 25-item structured questionnaire designed to elicit responses to the research questions. The instrument was validated by three experts who embellished it in term of both face contact validity while the reliability coefficient of the instrument was established using test re-test which yielded the coefficient of 0.78. Data for the study were personally collected by the researchers and three trained research assistances. While mean statistics was employed to analyze relating to research questions.1-4 based on the findings of the studies. The following recommendations were made, Correct mix ratio should be properly follow to avoid building cracks. Walls and other parts of the bridling should be properly cured after being constructed. Soil test should be conducted so as to ascertain the strength of the soil. There should be proper design to avoid building cracks. Use of unclean materials should be avoided.

TABLE OF CONTENTS

ABSTRACT

CHAPTER ONE

INTRODUCTION

1.1	BACKGROUND OF THE STUDY

1.2	PROBLEM STATEMENT

1.3	STUDY OBJECTIVES

1.4	SIGNIFICANCE OF THE STUDY

1.5	STUDY QUESTIONS/HYPOTHESES

1.6	SCOPE AND LIMITATION OF THE STUDY

1.7	DEFINITION OF TERMS

CHAPTER TWO

REVIEW OF RELATED AND RELEVANT LITERATURE

CRACKS IN BUILDING; AN OVERVIEW

CAUSES OF CRACKS ON BUILDING

TYPES OF CRACKS

TREATMENT MEASURES

THEORETICAL FRAMEWORK

CHAPTER THREE

RESEARCH METHODLOGY

3.1	RESEARCH DESIGN

3.2	STUDY AREA

3.3	SOURCES OF DATA

3.4	POPULATION OF THE STUDY

3.5	SAMPLE SIZE DETERMINATION

3.6	INSTRUMENTATION

3.7	RELIABILITY AND VALIDITY OF INSTRUMENT

3.8	METHOD OF DATA ANALYSIS

CHAPTER FOUR

DATA PRESENATATION, ANALYSIS AND INTERPRETATION

4.1	DATA PRESENTATION

4.2	DATA ANALYSIS

4.3	DATA INTERPRETATION

CHAPTER FIVE

SUMMARY, CONCLUSION AND RECOMMENDATION

5.1	SUMMARY

5.2	CONCLUSION

5.3	RECOMMENDATION

REFERENCES

APPENDIX

CHAPTER ONE

INTRODUCTION

1.1  Background of the study

Buildings and engineering structures in the modern world are complicated, and as a result, they need to be supervised by architects, structural engineers, quantity surveyors, and excellent contractors in order to ensure careful planning, secure design, and effective use of the necessary materials (Adewunmi, 2022). If these requirements are not met in a sufficient manner, there is an increased likelihood of failure. According to Evelyn's research from September 2004, fractures in the structural components of a building may be considered a fault in a number of different ways. In many instances, a single fracture incidence may lead to the development of many distinct types of defects. A flaw in serviceability and a deficiency in appearance are both present. And according to Adebayo (2022), the occurrence of various crack patterns in the building during construction and after completion, when it is subjected to super imposed loads and during service life, is a common phenomenon. This holds true both while the building is being constructed and after it has been completed. When the strain placed on a construction component is more than its capacity to withstand, fractures may appear in the component. The stress in the building components could be caused by externally applied forces, such as dead, live, wind or seismic leads, foundation settlement, etc., or it could be caused internally by thermal movements, moisture changes, elastic deformation, chemical action, etc. The stress could be caused by either of these factors, or a combination of both (Ademoroti, 2021).

Because of the many ways in which their knowledge of the building has contributed to the process of checking for failures and faults in residential structures, the tenants and residents of a building may act as excellent renters or occupiers. It is essential for renters to have an understanding of the factors that might lead to fractures in buildings, such as

Cracks that are not structural are often caused by internally generated stresses in the building material. These cracks do not pose a threat to the structural integrity of a structure but may make it seem unattractive. Or it can give the appearance that the job was shoddy, or it might trigger an unsatisfied sensation in the audience. In certain circumstances, due to the infiltration of moisture through them, non-structural cracks may ruin the internal finishes, thereby adding to the cost of maintenance. Alternatively, non-structural cracks may corrode the reinforcement, thereby adversely affecting the structure's stability in the long run. One example of this would be a vertical crack in a long compound wall, which is caused by shrinkage or thermal movement (Adeniya, 2022).

The breadth of cracks may vary noticeably and might range from a hairline fracture that is hardly apparent to the human eye to a sapling fracture. Cracks are divided into the following categories according to the width of the crack: Crazing is the formation of closely spaced line cracks at the surface of a structure or material. A thin crack has a width of less than one millimeter, a medium fracture has a width of between one and two millimeters, and a broad crack has a width of more than two millimeters.

The cracks that appear are always the same width, but some of them have a narrow end and a gradually widening other end. The patterns described above most frequently appear on the surface of the plaster or rendering of the structure of the building, but other patterns, such as straight, toothed, stepped, or map patterns, can also appear on the walls of the structure. The random kind crack might run in any direction, including vertically, horizontally, diagonally, etc (Adetayo, 2022).

As a result of this, it is essential for the people living in residential buildings to do regular inspections of their homes and make objective judgments on the strength and functionality of the buildings' structures.

1.2   Statement of the Problem

Crack is a kind of universal problem of building and if not checked may destroys the foundations or walls and affects the building artistic. It also  reduce the durability and stability of the structure of  the buildings.

Purpose of the Study

The purpose of this study is to identify strategies for controlling cracks in Niger south senatorial district. Specifically, the study is to;

i.   Determined the conceptual frameworks on cracks in buildings.

ii.   Determined the factors that contribute to the causes of cracks in residential buildings in Niger South Senatorial district.

iii.  Determine ways of eliminating cracks in residential buildings in Niger South Senatorial district.

1.3   Significance of the Study

The findings of this study will be beneficial to professional in the building industry such as builders, quantity surveyor etc The study will also be useful to contractors, designers of buildings and the society at large.

Show-et’ al (June 2006) maintained that a mixture or mix that is richer in cement may be necessary in order to meet the requirement of comfort ability, surface finish or long term durability.

The study is also importance as it would led to better understanding of how to control cracks in residential buildings in Niger south senatorial district municipal such as: Bida,lavun, Lapai, Mokwa and surroundings and to have the better knowledge of the constituents and materials and types of foundation that will suit particular type of soil.

1.4  Research Questions

The study of the crack in buildings is of importance, because it help the builder and civil engineers to know the causes and manifestation of cracks and how they can be avoided.

The following are research questions:

i.    what are the conceptual frameworks on cracks in buildings?

ii.   What are the factors that contribute to the causes of cracks in residential buildings in Niger South Senatorial district?

iii.  What are the possible ways of eliminating cracks in residential buildings in Niger South Senatorial district?

1.5  Scope of the Study

This research is limited to strategies of controlling racks in residential buildings in Niger South Senatorial district which covered the following: Bida, Lavun Lapai and Mokwa local government area of Niger State.

The study is restricted to technical ways of controlling cracks its causes, remedies and possible ways of eliminating them.

CHAPTER TWO

LITERATURE REVIEW

1.1 Cracks in Building; An overview

Poor and improper building maintenance will definitely will cause more damages and costly repair work if left unattended. Building defects are inevitable aspects of building construction. Defects occur in various forms and to different extent in all types of building irrespective of their age. Cracks can be structural or nonstructural depending upon the location of the crack in the building. Non Structural cracks occur mostly due to internally induced stresses in building material and generally do not affect the safety of structure but develop an anaesthetic appearance and create an impression of faulty construction work. These defects can be seen on the walls of structure in various forms like dampness, paint peeling, cracks. plaster rendering etc. Whereas structural cracks are the result of incorrect structural designing or insufficient survey of site and statistics of the location or even both in the worse scenario and are seen on structural elements i.e. Beam, column, slab, footing and structural cracks are the one which may cause the failure of the structure during its life period.

2.2 Causes of Cracks on Building

Causes of the cracks can be listed as:-

1) Poor workmanship

Poor mixing of building materials, lack of curing, change in water-cement ratio, proper compaction will cause cracks in the walls, beams, slabs etc. Normally poor workmanship is as a result of ignorance, carelessness, negligence, lack of proper supervision or many others.

2) Faulty design.

Poor structural design and specifications are another cause of the cracks in concrete works. It’s important the most important factor in the failure of a building. Design should be in accordance of all the environmental surveys that include soil (Geotechnical) investigations. Buildings are designed for particular uses, and also to withstand a given load conditions for example a building designed as residence will have different structural specifications from the one designed to operate machinery.

3) Structural overloading

 Overloading of the ground

 Overloading due to its dead load

 Overloading due to live loads present result in cracks

4) Due to moisture.

Most of the building materials with pores in their structure in the form of intermolecular space expand on absorbing moisture and shrink on drying. These movements are cyclic in nature and are caused by increase or decrease in inter pore pressure with moisture changes. Initial shrinkage occurs in all building materials that are cement/lime based such as concrete, mortar, masonry and plasters. Generally heavy aggregate concrete shows less shrinkage than light weight aggregate concrete.

5) Chemical reaction cement is an alkaline material and will react with acidic compounds present in moisture and will result in the weakening of the internal bonds. Certain limestone aggregate forms alkali -silica product, this reaction is known as alkali carbonation reaction. These reactions of aggregate, cement paste with the surrounding often causes cracks in building.

6) Creep Concrete when subjected to sustain loading exhibits a gradual and slow time dependant deformation known as creep. Creep increases with increase in water and cement content, water cement ratio and temperature. It decreases with increase in humidity of surrounding atmosphere and age of material at the time of loading. Use of admixtures and pozzolonas in concrete increases creep. Amount of creep in steel increases with rise in temperature..

7) Permeability of concrete.

As deterioration process in concrete begins with penetration of various aggressive agents, low permeability is the key to its durability. Concrete permeability is controlled by factors like watercement ratio, degree of hydration/curing, air voids due to deficient compaction, micro-cracks due to loading and cyclic exposure to thermal variations. The first three are allied to the concrete strength as well. The permeability of cement paste is a function of water-cement ratio given good quality materials, satisfactory proportioning and good construction practice; the permeability of the concrete is a direct function of the porosity and interconnection of pores of the cement paste.

8) Thermal movement.

Various building materials are used for the construction of a building and all the materials have different coefficient of expansion. Due to changes in the temperature, the expansion and contraction of the building components takes place which result in the changes in the size and shape of the components. Smaller buildings are less affected. In larger buildings, the change in size of one part causes cracks although not in expanded part.

9) For example; Crack below the slab/beam in RCC frame Brick pin buildings. These cracks can close up completely as a result of changes of temperature.

10) Corrosion of reinforcement.

This primarily causes structural failure or structural crack in building. Oxidation of the steel due to the presence of oxidants like o2 in the atmosphere causes the change in volume of steel reinforcement which develops a radial bursting stress in the surrounding area and resulting in cracks. Corrosion of the reinforcement cannot be eliminated but can be reduced to lower extent by using various techniques during construction

11) Foundation settlement.

Foundation may settle due to land slips, earthquakes, moisture changes due to clay shrinkable soils (for example, Black cotton soil). cracks occur because a part of the building is displaced from its position without any change in the size of material

12) Poor maintenance it’s always important to take good care of your house, by doing maintenance works after a lapse of certain periods. This will keep the building intact and also extend their life span.

2.3 Types of Cracks

The magnitude of the risk caused due to a crack can be characterized in terms of its direction, and dimensions. Cracks can be horizontal, vertical, diagonal or random.

1) Horizontal crack horizontal crack or crack which runs zigzag 45-degree angle, reason for this zigzag form might be severe such as foundation shifting or water damage. Severe cracks usually require immediate attention and might include some reconstruction to prevent further damage.

2) Vertical crack whereas vertical crack starting near the junction where the wall and ceiling meet, it indicates that it developed when the foundation settled after construction. Vertical cracks run the same direction as drywall.

3) Stair-step crack A stair-step crack looks like a flight of stairs and runs in both vertical and horizontal directions across the wall. The continuous pattern usually follows the brick line or the stone block and can be seen in unfinished basements due to the result of soil settling beneath the centre of the wall. For the rehabilitation of such cracks the soil test and the core test is recommended to encounter the probable damage to the building.

4) Doors and window it is a way to test the severeness of a wall cracks in wall by checking the swing of the doors and windows while opening and closing the internal doors and evaluate whether the door is obstructed. If so, ensure that the obstruction is not due to the recent paint work, faulty material if you determine there's nothing obstructing the swinging motion of the door, it might be a sign of a moderate or severe foundation settlement, and may result in wall cracks. According to Real Estate, sticky doors could indicate that the frame has been twisted by a shifting house. If you notice a visible gap at the top of a sticky door where it meets the door frame and you see light shining through, that might also signal a serious settlement problem, often resulting in jagged, horizontal cracks on nearby walls.

5) Visible nails inspect the area surrounding the crack on wall and look for nail heads or screw heads that might be visible on the surface of the wall. The nail or screw might not have damaged the drywall, but it has likely pulled away from the wooden stud beneath. This phenomenon is often known as "nail pops" or "nail popping" and might be a sign of structural problems. Nail pops are frequently associated with more serious wall cracks and often signal significant drywall shear movement.

TREATMENT MEASURES

The aim of crack repair has to be established a prior and achieved by proper selection of repair material and methodology. The goal of all crack repairs is to achieve one or more objectives such as:

 Restore and increase the strength of cracked components

 Restore and increase the stiffness of cracked components

 Improve functional performance of the structural members

 Prevent liquid penetration

 Improve the appearance of the concrete surface

 Improve durability; and prevent development of a corrosive environment at the reinforcement. Materials for nonstructural crack repair of dormant nature should be a rigid material. Cementitious, polymer modified cementitious grouts of acrylic, styrene-acrylic and styrene-butadiene should be used for wider cracks. However polyester and epoxy resins should be used for injection of dormant cracks. For live cracks flexible material of polysulphide or polyurethane should be used. Before repair of any non-structural cracks the factors have to be considered are:

 Whether the crack is dormant or live;

 The width and depth of the crack;

 Whether or not sealing against pressure is required, and, if so, from which side of the crack will the pressure be exerted and

 Whether or not appearance is a factor.

A. Repair of Dormant cracks

Dormant cracks may range in width from 0.05 mm or less (crazing) to 6 mm or more. The width of the crack has a considerable influence on the materials and methods to be chosen for its repair. The fine cracks are repaired by low viscous epoxy resin and other synthetic resin by injecting. Wide cracks on a vertical surface are also repaired by injection methods. Cracks on horizontal surface can be repaired by injection or by crack filling by gravity. Dormant cracks, where the repair does not have to perform a structural role, can be repaired by enlarging the crack along the external face and filling and sealing it with a suitable joint sealer. This method is commonly used to prevent water penetration to cracked areas. The method is suitable for sealing both fine pattern cracks and larger isolated defects. Various materials are used such as including epoxies, urethanes, silicones, polysulphides, asphaltic materials and polymer mortars. Polymer mortars are used for wider cracks. The crack is routed out, cleaned and flushed out before the sealant is placed. It should be ensured that the crack is filled completely. Where ever a cementitious material is being used, dry or moist crack edges must be wetted thoroughly.

B. Cementitious Grouts

It is used for repair of cracks that are greater in width. It is a mixture of cementitious material and water that is proportioned to produce a pourable consistency. Cement-based grouts are available in a wide range of consistencies; therefore, the methods of application are diverse. These materials are the most economical of the choices available for repair. They do not require unusual skill or special equipment to apply and are reasonably safe to handle. These materials tend to have similar properties to the parent concrete & mortar and have the ability to undergo autogenous healing due to subsequent hydration of cementitious materials at fracture surfaces. Shrinkage is a concern in such type of grouts. These are not suitable for structural repairs of active cracks. For application of cementitious grouts generally, some form of routing and surface preparation, such as removal of loose debris are needed. Pre-wetting should be done to achieve a Saturated-Surface-Dry (SSD) condition. Grouts are generally to be mixed to a pourable consistency by using a drill and paddle mixer, and the consistency may be adjusted thereafter. Application should be done by hand troweling or dry packing into vertical and overhead cracks to fill all pores and voids. Finally, a suitable coating to be applied on the repaired surfaces.

C. Epoxy Resin Grouts

This is most common polymer material used for gravity feed crack repairs. It should be formulated to have a very thin consistency (low viscosity) and low surface tension to enable the resin to easily penetrate fine cracks by gravity alone. Viscosities below 200 centipoise (cps) should be a minimum requirement. The horizontal concrete elements such as bridge and parking decks, floor slabs, plaza decks, and similar surfaces can be repaired with gravity feed resin. The cracks should be cleaned and free from dust. If required some routing may be required to facilitate pouring of resin. The surface should be cleaned with a compressed air. If water is used during cleaning then it should be dried for 24hr because the moisture present inside the crack may obstruct the flow of resin. The resin has to be mixed in a bucket with a paddle mixer. Small cans or squeeze bottles can be used for pouring into individual cracks. Before pouring of resin the underside of cracks should be sealed temporarily to avoid any leakage. The pouring should continue till the cracks go on absorbing after which the excess resin should be removed with a flat rubber squeegee.

D. Application of Epoxy Injection

1) Surface preparation

The cracks should be cut and cleaned properly. Any contamination should be removed by flushing with water or some especially effective solvent. Then the solvent should be blown out with compressed air, or adequate time should be given for air drying. The surfaces should be sealed. This keeps the epoxy from leaking out before it gelled. A surface can be sealed by brushing an epoxy over the surface of the crack and allowing it to harden. If extremely high injection pressures are needed, then the crack should be cut into a V-shape, filled with an epoxy, and should be stroke off flush with the surface. The entry ports should be installed thereafter.

2) Fixing of injection ports/nozzles

There are three ways to do this. Fitting of nozzles to be inserted in drilled holes should be made by drilling a hole into the crack for 8 mm dia injection packers @ 200 to 300 mm c/c, penetrating below the bottom of the V-grooved section. A fitting such as a pipe nipple should be inserted or tire valve stem should be inserted into the hole and bonded with an epoxy adhesive. A vacuum chuck and bit will help to keep the cracks from being plugged with drilling dust. The second method is by bonded flush fitting. When the cracks are not V-grooved, a common method of providing an entry port is to bond a fitting flush with the concrete face over the crack. Last method is by interruption in seal. Another way to allow entry is to omit the seal from part of the crack. This method uses special gasket devices that cover the unsealed portion of the crack and allow injection of the adhesive directly into the crack.

3) Mixing

Mixing the two components of epoxy injection grout of base and hardener should be done in a suitable container with heavy duty slow speed drilling machine with paddle attachment. Mixing should be made for 2 to 3 minutes to obtain a uniform color.

4) Injection of Epoxy

For smaller area or isolated crack a hand pump may be used for injection. Hydraulic pumps, paint pressure pots, or air-actuated caulking guns can be used for larger cracked areas. The pressure should be selected carefully, because too much pressure can extend the existing cracks and cause more damage. If cracks are clearly visible, injection ports can be installed at appropriate interval by drilling directly into the crack surface. The surface of the crack between ports is allowed to cure. For vertical cracks, pumping of epoxy into the entry port should start at the lowest elevation until the epoxy level reaches the entry port above. Then the lower injection port is caped and the process is repeated at successively higher ports until the crack has been completely filled in. For horizontal cracks, injection starts from one end of the crack to the other in the same way. When the pressure is maintained, the crack is filled completely. For injection from underside of ceiling of flat roof a lot of pressure is being exerted. Hence care should be taken while injecting from underside. (Hosein, 1980)

5) Removal of the Surface Seal

After the injected epoxy has cured, the surface seal is being removed by grinding or some other appropriate means.

CONTROLLING MEASURES

- Measures for controlling cracks due to shrinkage

 To avoid cracks in brickwork on account of initial expansion, a minimum period varying from 1 week to 2 weeks is recommended by authorities for storage of bricks after these are removed from Kilns.

 Shrinkage cracks in masonry could be minimized by avoiding use of rich cement mortar in masonry and by delaying plaster work till masonry has dried after proper curing and has undergone most of its initial shrinkage.

 Use of precast tiles in case of terrazo flooring is an example of this measure. In case of in-situ/terrazo flooring, cracks are controlled by laying the floor in small alternate panels or by introducing strips of glass, aluminum or some plastic material at close intervals in a grid pattern, so as to render the shrinkage cracks imperceptibly small.

 In case of structural concrete, shrinkage cracks are controlled by use of reinforcement, commonly termed as 'temperature reinforcement'. This reinforcement is intended to control shrinkage as well as temperature effect in concrete and is more effective if bars are small in diameter and are thus closely spaced, so that, only thin cracks which are less perceptible, occur.

 To minimize shrinkage cracks in rendering/plastering, mortar for plaster should not be richer than what is necessary from consideration of resistance to abrasion and durability

B. Measures for controlling cracks due to thermal variations

 Wherever feasible, provision should be made in the design and construction of structures for unrestrained movement of parts, by introducing movement joints of various types, namely, expansion joints, control joints and slip joints.

 Even when joints for movement are provided in various parts of a structure, some amount of restraint to movement due to bond, friction and shear is unavoidable. Concrete, being strong in compression, can stand expansion but, being weak in tension, it tends to develop cracks due to contraction and shrinkage, unless it is provided with adequate reinforcement for this purpose. Members in question could thus develop cracks on account of contraction and shrinkage in the latter direction. It is, therefore, necessary to provide some reinforcement called 'temperature reinforcement" in that direction.

 Over flat roof slabs, a layer of some insulating material or some other material having good heat insulation capacity, preferably along with a high reflectivity finish, should be provided so as to reduce heat load on the roof slab.

 In case of massive concrete structures, rise in temperature due to heat of hydration of cement should be controlled.

 Provision of joints in structure.

- Measures for prevention of cracks due to creep

Though it may not be possible to eliminate cracking altogether, following measures will considerably help in minimization of cracks due to elastic strain, creep and shrinkage:

 Use concrete which has low shrinkage and low slump.

 Do not adopt a very fast pace of construction.

 Do not provide brickwork over a flexural RCC member (beam or slab) before removal of centering, and allow a time interval of at least 2 weeks between removal of centering and construction of partition or panel wall over it.

 When brick masonry is to be laid abutting an RCC column, defer brickwork as much as possible.

 When RCC and brickwork occur in combination and are to be plastered over, allow sufficient time (at least one month) to RCC and- brickwork to undergo initial shrinkage and creep before taking up plaster work. Also, either provide a groove in the plaster at the junction or fix a 10 cm wide strip of metal mesh or lathing over the junction to act as reinforcement for the plaster. (Central Building Research Institute, 1984)

 In case of RCC members which are liable to deflect appreciably under load, for example, cantilevered beams and slabs, removal of centering and imposition of load should be deferred as much as possible (at least one month) so that concrete attains-sufficient strength, before it bears the load.

- General measures for chemical attack

 In case of structural concrete in foundation, if sulphate content in soil exceeds 0.2 percent or in ground water exceed 300 ppm, use very dense concrete and either increase richness of mix to 1:1/5:3 or use sulphate resisting Portland cement/super-sulphated cement or adopt a combination of the two methods depending upon the sulphate content of the soil.

 For superstructure masonry, avoid use of bricks containing too much of soluble sulphates (more than 1 percent in exposed situations, such as parapets, free standing walls and masonry in contact with damp soil as in foundation and retaining walls; and more than 3 percent in case of walls in less exposed locations) and if use of such bricks cannot be avoided, use rich cement mortar (1:1/2:4.5 or 1:1/4 :3) for masonry as well as plaster or use special cements mentioned earlier and take all possible precautions to prevent dampness in masonry.

 To prevent cracking due to corrosion in reinforcement and premature deterioration, it is desirable to specify concrete of richer mix (say 1:1/5:3) for thin sections in exposed locations and to take special care about grading, slump, compaction and curing of concrete. (Chand, October 2008) (CBRI, Roorkee)

  - THEORETICAL FRAMEWORK

# 2.3.1 Cracking Prediction Model

In this study, the methodology used was to analyse several pavement cracking deterioration models available in the literature with the objective of its integration in the management of cracks. The models selected are the following ones: the Brazilian model; the PAVENET-R model; the HDM-4 model; the Ker Lee Wu (KLW) model; the Indian model; and the Austroads model.

## Brazilian Model (1994)

This model was developed by Visser, Queiroz and Caroca [6] based on a longterm pavement monitoring program carried out in Brazil between 1975 and 1985. The road sections were unbound granular base flexible pavements in areas with tropical to subtropical climate with an average annual precipitation between 1200 and 1700 mm/year. Cracked area over time is predicted with Eqn. (1), developed with multiple regression and probabilistic time failure analysis, which depends on traffic volume, the pavement bearing capacity (load deflection) and age. For existing pavements with asphalt surfacing the model only applies to cracking progression prediction, while for asphalt overlays and slurry seals the model comprises two-phases, initiation time and progression prediction. Two-phase models give an extra opportunity to calibrate the model for cracking prediction over time. This model considers the Benkelman beam to measure pavement deflections, but this equipment is not used in Europe any more. However, some regressions relating the modified structural number with the Benkelman beam maximum deflection have been proposed by several authors such as Eqn. (2) by Paterson [7, 8]. The modified structural number is the evolution of the AASHTO structural number by considering the subgrade contribution.

| Ct = (B×10−2)×log(N80ct ) (× 0.0456 + 0.00501×Yt )−18.53−C0 | (1) |
| --- | --- |
| SNC=3.2×B−0.63 | (2) |

Where Ct is the pavement cracked area (class 2 cracking or worse, i.e. crack width larger than 1 mm) in year t (m2/100m2); Yt the age of pavement since original construction or since subsequent AC overlay (years); N80ct is the cumulative 80 kN equivalent single axle load (ESAL) at age t (ESAL/lane); B is the Benkelman beam maximum deflection for the existing pavement (mm); C0 is the cracking offset term calculated to ensure that predicted cracking conforms with the initial value at the start of analysis; SNC is the modified structural number.

## PAVENET-R Model (1996)

The cracking prediction model defined by Eqn. (3) is used in the computer model PAVENET-R [9] aiming at the optimization of the maintenance-rehabilitation problem at the network level. The cracked area over time is predicted based on traffic and the pavement AASHTO structural number calculated using Eqn. (4). As for the previous model it is an only one phase model (just dealing with progression) and it does not include a variable that accounts for the existing cracked area at the beginning of the analysis.

| Ct = 617.14×N80ct ×SN−SN | (3) |
| --- | --- |
| N SN =Hn ×Cne ×Cnd | (4) |

n=1

Where Ct is the total cracked area in year t (m2/100m2); N80ct is the cumulative equivalent standard axle load (ESAL) at age t (million ESAL/lane); SN is a structural number;Cne is the structural coefficient of layer n;Cnd is the drainage coefficient of layer n; and Hn is the thickness of layer n (mm).

## INDIAN Model (1994)

The Indian model was derived from a pavement performance study carried out during the 90’s with extensive monitorisation of pavement sections (145) along national and state highways in four Indian states [10]. The cracking prediction model is a two-phase model, considering the time to cracking initiation calculated using Eqn. (5), and the cracking progression calculated using Eqn. (6). As for the previous models, just two variables were included (traffic and the pavement structural number). The model is applicable to pavements with asphalt surfacing (excluding surface dressing and slurry seal). The climate where the pavement data was gathered varies from arid to humid subtropical, being far from the Portuguese Mediterranean climateHDM-4 Model (2000)

The Highway Development and Management (HDM-4) system uses a cracking pavement performance model applied in two phases [6, 10-14]: the time to structural crack initiation and the structural crack progression. The HDM-4 is the successor of the World Bank Highway Design and Maintenance Standards Model HDM-III, which has been used by various road agencies all over the world for the last 20 years. Eqn. (7) is used to calculate the time to structural cracking initiation (years). Eqn. (8), (9), (10) and (11) are used to calculate the percentage of cracking over time (class 2 or worse), designed as the “all cracking” model. This formulation is valid for flexible pavements with asphalt or surface treatment as surface course and granular or asphalt base course

Thermal cracking is not considered to be an important source of cracking in Portuguese road pavements due to small number of days with subfreezing temperatures (Mediterranean climate). In a different position, reflexion cracking, which is the progression of cracks upwards to the surface from previously cracked asphalt pavements or cement stabilized materials, is important in every cracking deterioration model. It allows prediction of this pavement distress evolution after M&R actions have been taken, considering the common large concession periods. The HDM-4 model for reflexion cracking prediction.

CHAPTER THREE

3.0	RESEARCH METHODOLOGY AND THE STUDY AREA

3.1	INTRODUCTION

In the earlier chapter, efforts have been made to discuss the aim and objectives of the study, the source of data collection, problems and significance of the study, and literature review have been examined extensively. Hence, to achieve the aim and objectives of the study, an attempt will be made in this chapter to examine the study population, sample frame, sample size, source of data, data collection instrument, questionnaire design and as well as methods of analysing and presenting the data collected. Also, description of the study area will not be left out.

3.2	STUDY POPULATION

The study which focus on the problems associated with building Crack whether design or construction with more emphasis on Niger south senatorial district-Island as the case study shall focus on the Real Estate Developers (both private and public), the Professional in building industry like Architects, Builders, Land Surveyors, Quantity Surveyors, Town Planners, Estate Surveyors and Valuers and Engineers that are practising within the study area, also the state Ministry of Housing shall be the population of the study.

3.3	DATA REQUIREMENT

The primary data to be used would be information collected from the Real Estate Developers, Professional Team in the Building Industry within the study area, even the government ministry through questionnaire administering, personal interview, personal observation and field survey. The secondary data will include information collected from published and unpublished material, the textbooks, periodic journals, magazines, seminar papers, internet and daily newspapers.

3.4	SAMPLE FRAME

Sample frame is the complete list of all unit of element from which the sample is selected. The list of members of the population from which samples are to be selected. Hence, the sample frame for this dissertation is the list of Developers, Professionals and Government Parastatals in the study area, Niger.  It will cover both the private and public developers while the professionals will include the entire building team in the study area.

3.5	SAMPLE SIZE

Sample size is the selected number pick at random from the list unit of the sampling frame. The sampling size will not cover the entire sample frame due to the time stipulated for this study. Therefore, the sampling size for the research dissertation will be forty (40) for Private Real Estate Developers, thirty (30) for Professional Team in the building industry, and thirty (30) for government agency concerned with building construction. As questionnaire will be designed separately for each group, and it will be sum total of One Hundred (100) questionnaires for the study.

3.6	SAMPLING TECHNIQUES

Having chosen a suitable sampling frame and established the actual sample size, selecting the appropriate sampling techniques will be considered in order to obtain accurate information from the respondents, there are various types of sampling techniques and these include; random sampling, stratified sampling, systematic sampling, double sampling, purposive sampling, cluster sampling and multi-stage sampling.

All these are the various techniques of sampling but for this research work, combination of stratified sampling and random sampling were adopted in order to avoid bias.

3.7	DATA COLLECTION

Data collection method refers to the method adopted by the researcher in collecting and gathering of information based on the research study. Source of data can be classified into two viz: primary and secondary sources.

For the purpose of this research work, both the primary and secondary sources were adopted. All data gathered though secondary sources have been reviewed in the previous chapter while the data collected through the means of administration of questionnaire and field survey shall be analysed and presented.

3.8	DATA COLLECTION INSTRUMENT

There are different instruments which can be used in collection of data such as personal interview, personal observation, postal questionnaire, administration of questionnaire, telephone interview, direct observation and consulting relevant publication. Therefore, the following will be adopted for the collection of data for this research study;

3.8.1	ADMINISTRATION OF QUESTIONNAIRE:  Questionnaires were designed based on the research question for the developers, professions and government agency. The questionnaire was streamlined to the topic of the research work.

3.8.2	PERSONAL INTERVIEW:  	Some respondents were found to be helpful in terms of providing additional information relating to the research, due to the questions asked on the research findings.

3.8.3	PERSONAL OBSERVATION:  The research was able to observe some fact in the process of carrying out the research.

3.8.4	RELEVANT PUBLICATION:  In order to do justice to the research work, published and unpublished materials were consulted such as textbooks, journals, conference papers, internet, magazines, newspaper publications etc.

3.9	QUESTIONNAIRE DESIGN

In the course of collecting information for this study, three types of questionnaires were designed and administered. The questionnaires were designed for real estate developers, government agencies and professional team in the building industry. The information includes their personal data and questions on the research topic and shall be both close and open-ended questions.

3.10	DATA ANALYSIS

Data analysis is concerned mainly with the analysis of data collected in view of the research study and to specify the findings as well as the data collection were the response of respondents through the use of questionnaire. It is important to indicate that questionnaires were distributed to the government parastatals, developers and professionals in the building industry and not all questionnaires administered were filled completely and returned. Out of the (100) questionnaires administered, (73) were filled and returned. However, it should be recalled that three (3) types of questionnaire was designed and administered were for the government parastatals, real estate developers and for professionals in the building industry.

Therefore, it should be mentioned that out of the 30 questionnaires that was administered to government parastatals, (24) were filled and returned, (23) questionnaires were filled and returned out 40 by the real estate developers, while only (26) questionnaires were returned out of 30 by the professionals. The total questionnaires received is (73) in all representing 82%.

There are basically two types of statistical analysis; descriptive and inferential statistics. Descriptive statistics help to summarise, describe and organise mass row of data while inferential is to be made about population from sample. It also includes frequency distribution tables, simple statistical mode such as pie charts and bar charts.

These methods were adopted because they will provide the basic distribution characteristics of the variables or data employed. For instance, in frequency report, one can arrange the different values from the highest to the lowest in terms of occurrence or in terms of Mean, Median and Mode frequently appearing variable or attributes can be slow. It shows the number of responses of each of the study. All these will be used to analyse and present the data collected.

CHAPTER FOUR

DATA COLLECTION, ANALYSIS, PRESENTATION AND INTERPRETATION

4.1	INTRODUCTION

This chapter deals mainly with the collection of data, analysis and presentation of data, the means and source which data were gathered shall be discuss in detail and all data gathered shall be analysed and presented by using simple statistical method which involved the tabulation of data and converting the numerical into simple percentage for further presentation of the key question which shall be presented. The hypothesis shall be tested by using chi-square at (0.05) level of significance.

4.2.0	ANALYSIS OF RESPONSES OF REAL ESTATE DEVELOPERS

Efforts have been made in collecting data, and all data gathered through questionnaires shall be presented and analysed as follows;

4.2.1	DISTRIBUTION ON GENDER OF THE RESPONDENTS

The study reveals that 13 respondents (56.5%) of the total sample population are Male, while 10 respondents (43.5%) of the total sample population are Female.

The implication of this is that there are more Male than Female developers in Niger south senatorial district as shown in Table 1 below.

TABLE 1	GENDER DISTRIBUTION OF THE RESPONDENTS

| GENDER | FREQUENCY | PERCENTAGE |
| --- | --- | --- |
| Female | 13 | 56.5 |
| Male | 10 | 43.5 |
| TOTAL | 23 | 100 |

Source: Field Survey, September, 2011

4.2.2	LITERACY STATUS OF THE RESPONDENTS

The study reveals that 23 respondents (100%) of the total sample population has gone through tertiary education. The implication of this is that the entire real estate developers in the study are educated and knowledgeable enough to give reliable information as shown in table 2 below.

TABLE 2	LITERACY STATUS OF RESPONDENTS

| LITERACY STATUS | FREQUENCY | PERCENTAGE |
| --- | --- | --- |
| No Basic Education | - | - |
| Primary/Secondary | - | - |
| Tertiary Education | 23 | 100 |
| TOTAL | 23 | 100 |

Source: Field Survey, September, 2011

4.2.3	PURPOSE OF DEVELOPING PROPERTIES

The study reveals that 5 respondents (21.7%) of the total sample population develop properties for personal use, meanwhile, 18 respondents (78.3%) of the total sample population develop properties for investment. The implication of this is that majority of real estate developers’ motive for development is profit oriented as shown in table 3 below.

TABLE 3	PURPOSE OF DEVELOPING PROPERTIES

| PURPOSE | FREQUENCY | PERCENTAGE |
| --- | --- | --- |
| Personal Use | 5 | 21.7 |
| Investment | 18 | 78.3 |
| TOTAL | 23 | 100 |

Source: Field Survey, September, 2011

4.2.4	EXPERIENCE IN PROPERTY DEVELOPMENT

The study reveals that 6 respondents (26.1%) of the total sample population has below 5 years experience in property development, 16 respondents (69.5%) of the total sample population has been in developing for 6-10 years, while 1 respondent (4.4%) of the total sample population has above 11 years experience in property development. The implication of this is that real estate developers in Niger south senatorial district has been 6-10 years experience in property development as shown in table 4 below.

TABLE 4	EXPERIENCE IN PROPERTY DEVELOPMENT

| EXPERIENCE | FREQUENCY | PERCENTAGE |
| --- | --- | --- |
| Below 5 years | 6 | 26.1 |
| 6-10 years | 16 | 69.5 |
| Above 11 years | 1 | 4.4 |
| TOTAL | 23 | 100 |

Source: Field Survey, September, 2011

4.2.5	AWARENESS OF BUUILDING CRACK

The study reveals that 23 respondents (100%) of the total sample population are aware of building Crack in Nigeria. The implication of this is that all real estate developers are aware of the incidents of building Crack in Nigeria as shown in table 5 below.

TABLE 5	AWARENESS OF BUILDING CRACK

| OPTION | FREQUENCY | PERCENTAGE |
| --- | --- | --- |
| Yes | 23 | 100 |
| No | - | - |
| TOTAL | 23 | 100 |

Source: Field Survey, September, 2011

4.2.6	FREQUENCY OF RESIDENTIAL BUILDING CRACKS IN NIGER SOUTH SENATORIAL DISTRICT

The study reveals that 13 respondents (56.5%) of the total sample population says residential building cracks is very common in Niger south senatorial district, 7 respondents (30.4%) says it is common, while 3 respondents (13.1%) of the total sample population says residential building cracks is not common in Niger south senatorial district. The implication of this is that residential building cracks in Niger south senatorial district is Very Common as shown in table 6 below.

TABLE 6	FREQUENCY OF RESIDENTIAL BUILDING CRACKS IN NIGER SOUTH SENATORIAL DISTRICT

| OPTION | FREQUENCY | PERCENTAGE |
| --- | --- | --- |
| Very Common | 13 | 56.5 |
| Common | 7 | 30.4 |
| Not Common | 3 | 13.1 |
| Undecided | - | - |
| TOTAL | 23 | 100 |

Source: Field Survey, September, 2011

4.2.7	THE MAJOR CAUSES OF RESIDENTIAL BUILDING CRACKS

The study reveals that 3 respondents (13.0%) of the total sample population says it is bad design, 17 respondents (73.9%) says it is through the use of sub-standard materials, while 3 respondents (13.0%) of the total sample population says it is faulty foundation. The implication of this is that the use of sub-standard materials serves as the major cause of residential building cracks as shown in table 7 below.

TABLE 4.7	THE MAJOR CAUSES OF RESIDENTIAL BUILDING CRACKS

| CAUSES | FREQUENCY | PERCENTAGE |
| --- | --- | --- |
| Deviation from Approved Plan | - | - |
| Bad Design | 3 | 13.0 |
| Sub-Standard Materials | 17 | 73.9 |
| Poor Workmanship | - | - |
| Lack of Maintenance | - | - |
| Faulty Foundation | 3 | 13.0 |
| Structural Foundation | - | - |
| TOTAL | 23 | 100 |

Source: Field Survey, September, 2011

4.2.8	DEFECT IN BUILDING LEADS TO RESIDENTIAL BUILDING CRACKS

The study reveals that 23 respondents (100%) of the total sample population are of the view that defect in building leads to residential building cracks. The implication of this is that defect in building leads to residential building cracks as shown in table 8 below.

TABLE 8	DEFECT IN BUILDING LEADS TO BUILDNG CRACK

| OPTION | FREQUENCY | PERCENTAGE |
| --- | --- | --- |
| Yes | 23 | 100 |
| No | - | - |
| TOTAL | 23 | 100 |

Source: Field Survey, September, 2011

RATE GOVERNMENT EFFORTS IN ERADICATING RESIDENTIAL BUILDING CRACKS

The study reveals that 4 respondents (16.7%) of the total sample population rate it as very good, 10 respondents (41.7%) of the total sample population rate it as good, 9 respondents (37.5%) rate it as fair, 1 respondent (4.1%) of the total sample population rate government efforts as poor.

The implication of this is that government efforts in eradicating residential building cracks is quite commendable as there is still more to be done as shown in table 26 below.

TABLE 26	RATE GOVERNMENT EFFORTS IN ERADICATING RESIDENTIAL BUILDING CRACKS

| RATE | FREQUENCY | PERCENTAGE |
| --- | --- | --- |
| Very Good | 4 | 16.7 |
| Good | 10 | 41.7 |
| Fair | 9 | 37.5 |
| Poor | 1 | 4.1 |
| TOTAL | 24 | 100 |

Source: Field Survey, September, 2011

4.3.9	PRESENT EFFORTS OF GOVERNMENT

The study reveals that 21 respondents (87.5%) of the total sample population says government has made efforts presently, while 3 respondents (12.5%) of the total sample population says otherwise. The implication of this is that the present administration of Governor Babatunde Raji Fashola has taken drastic step to curb the menace of residential building cracks in Niger south senatorial district State as shown in table 27 below.

TABLE 27	PRESENT EFFORTS OF GOVERNMENT

| OPTION | FREQUENCY | PERCENTAGE |
| --- | --- | --- |
| Yes | 21 | 87.5 |
| No | 3 | 12.5 |
| TOTAL | 24 | 100 |

Source: Field Survey, September, 2011

EFFORTS OF PROFESSIONALS IN ERADICATING RESIDENTIAL BUILDING CRACKS

The study reveals that 4 respondents (15.3%) of the total sample population says it is through public enlightenment, 2 respondents (7.8%) of the total sample population says it is through building code regulation, while 20 respondents (76.9%) of the total sample population says it is through proper site supervision. The implication of this is that professionals concerned in the building industry are making efforts to eradicate residential building cracks through public enlightenment and proper site supervision as shown in table 47 below

TABLE 47	EFFORTS OF PROFESSIONALS IN ERADICATING RESIDENTIAL BUILDING CRACKS

| EFFORTS | FREQUENCY | PERCENTAGE |
| --- | --- | --- |
| Public Enlightenment | 4 | 15.3 |
| Regulating Building Code | 2 | 7.8 |
| Proper Site Supervision | 20 | 76.9 |
| Using Experienced Craftsmen | - | - |
| TOTAL | 26 | 100 |

Source: Field Survey, September, 2011

4.5	TESTING OF HYPOTHESIS

In this section, two main hypothesis shall be tested which will be tested based on the level of agreement and disagreement on each questions asked. Hence, Chi-Square will be used in testing the hypothesis.

The formula is

x2 = 	∑  =  Summation

O1 = Observed Frequency

E1 = Expected Frequency

Rt × Ct

GT

Where

Rt  =  Row total

Ct = Column total

Gt = Grand Total

x2 cal = Chi-Square calculated

x2 tab = Critical Value form

CHI-SQUARE TABLE

The level of significance for accepting the Null and Alternative Hypothesis will be 5% (0.05) respectively. The Null hypothesis (Ho) will be accepted if the chi-square calculated (x2 cal) is lesser than the Critical Value from chi-square table (x2 tab) i.e. x2 cal <x2 tab while the alternative hypothesis will be rejected. Alternative hypothesis (H1) will be accepted if the Critical Value from the chi-square table is lesser than the chi-square value i.e. x2 tab <x2 cal.

Accept H1 and reject Ho the Null Hypothesis

Degree of Freedom df = (r – 1) (c – 1)

Where r = row, c = column

4.5.1	DATA ANALYSIS OF HYPOTHESIS

HYPOTHESIS ONE

Ho – Residential building cracks does not have effect and problems on the economy and property investment

H1 – Residential building cracks has effects and problems on the economy and property investment.

| OPINION | NO. OF RESPODENTS |
| --- | --- |
| Yes | 13 |
| No | 10 |
| TOTAL | 23 |

Degree of Freedom = k – 1, k = 2, 2 – 1 = 1

df = 1

Expected Frequency – np

n = total number of respondent = 23

p = ½ = 0.5

E = np = 23 × 1/2 = 11.5

| O | E | O – E | (O – E)2 | (O - E)2 E |
| --- | --- | --- | --- | --- |
| 13 | 11.5 | 1.5 | 2.25 | 0.1957 |
| 10 | 11.5 | -1.5 | 2.25 | 0.1957 |
|  |  |  |  | 0.3914 |

x2 cal  =  ∑ (O – E)2      = 0.3914

∑

x2 tab at 5% (0.05) level of significance

x2 tab = x2 df, α = =x21, 1-0.05 = x21, 0.95

x2 tab = x21, 0.95 = 3.84

DECISION: If the chi-square calculated i.e. x2 cal is greater than chi-square tabulated i.e. x2 then we reject the Null hypothesis (Ho) and accept Alternative hypothesis (H1) otherwise we accept Ho.

Conclusion: Since chi-square calculated is less than the chi-square tabulated i.e. 0.3914 < 3.84, then we accept the null hypothesis that says Residential building cracks does not have effect and problems on the economy.

HYPOTHESIS TWO

Ho – Efforts have not been made by developers to stop residential building cracks in Niger south senatorial district State

H1 – Efforts have been made by developers to stop residential building cracks in Niger south senatorial district State

Degree of Freedom (d.f.) = (k – 1) = 2 – 1 = 1

df  = 1

Expected Frequency = np

n = 23, p = ½ = 0.05

E = np = 23 × 0.5 = 11.5

| O | E | O – E | (O – E)2 | (O - E)2 E |
| --- | --- | --- | --- | --- |
| 20 | 11.5 | 8.5 | 72.25 | 6.2826 |
| 3 | 11.5 | -8.5 | 72.25 | 6.2826 |
|  |  |  |  | 12.5652 |

x2 cal  =  ∑ (O – E)2      = 12.5652

∑

x2 tab at 5% (0.05) level of significance

α = 0.05

x2 tab = x2 df, α = =x21, 0.05 = x21, 1 - 0.05 = x21, 0.95

x2 tab = x21, 0.95 = 3.84

DECISION: If the chi-square calculated i.e. x2 cal is greater than chi-square tabulated i.e. x2 then we reject the Null hypothesis (Ho) and accept Alternative hypothesis (H1) otherwise we accept Ho.

Conclusion: Since chi-square calculated i.e. x2 cal (12.57) is greater than chi-square tabulated i.e. x2 tab (3.84) at 5% level of significance then we reject the Null hypothesis and accept the alternative hypothesis that efforts have been made by developers to stop residential building cracks in Niger south senatorial district State.

4.6	INTERPRETATION OF DATA

The following are the interpretation of the above analysed data of government parastatals, real estate developers and professional team in the building industry. The interpretation are as follows;

- The analysed data shows that majority are Male and they are all educated and are found to be knowledgeable due to their experience in their various fields.

- Larger proportion of the respondents is aware of the incidents of residential building cracks and has witnessed residential building cracks and majority of them agreed that residential building cracks is Frequent in Niger south senatorial district State.

- The three categories of respondents agreed that the major causes of residential building cracks are the use of sub-standard materials and poor workmanship. Also, they agreed that defects in building leads to residential building cracks.

- It was discovered that Residential and Commercial properties are prone to residential building cracks and most of them are privately-owned and contribute more to residential building cracks.

- A lot of problems has been caused by residential building cracks in Niger south senatorial district which also affects lives and properties of those affected, meanwhile the life cycle of properties that Crack mostly are newly developed and old-aged properties.

- Both the government, developers and professionals are contributing in one way or the other to the causes of residential building cracks in Niger south senatorial district, and making efforts to eradicate occurrence of residential building cracks in Niger south senatorial district due to its rampancy.

- Dealing with quacks and lack of funds are the contributing factor by private developers to residential building cracks. The professionals and the government are making efforts to stop this problems through public enlightenment and proper site supervision.

CHAPTER FIVE

5.0	SUMMARY OF FINDINGS, RECOMMENDATIONS AND CONCLUSION

5.1	SUMMARY OF FINDINGS

After a detailed analysis of data gathered from the three categories of respondents such as the Niger south senatorial district State Ministry of Housing, Real Estate Developers and Professional team in the building industry, which follows by interpretation, the following are the summary of findings;

- The analysis revealed that the majority of the respondents are male and have witnessed and also aware of incidents of residential building cracks in Niger south senatorial district.

- The respondents also agreed to the fact that the degree of effect of residential building cracks is Very High and as such, have caused a lot of problem to the government as well as professionals concerned. Also, it was agreed that the rampancy of residential building cracks in Niger south senatorial district is high in nature and the government and professionals are making effort to eradicate it through public enlightenment and proper site supervision.

- The three categories of respondents i.e. government ministry of housing, real estate developers and professional team in the built environment identified the following as causes of residential building cracks; structural defect, faulty foundation, lack of maintenance, poor workmanship, sub-standard materials, design error, natural hazards, inexperienced professionals, hasty construction, greed, non-adherence to building codes, overloading, tendency to cheat, corruption, inadequate steel reinforcement, no soil test etc.

5.2	RECOMMENDATIONS

Having carried out due analysis and interpretation of data gathered from both primary and secondary sources, the following were recommended;

- The developers should not be in a hurry and also keep enough funds for development and deal directly with professionals with good track records and credibility.

- Adequate and proper test should be carried out for property that have reached old age and if defects were numerous, occupants should be advised in their best interest to vacate the building premises.

- Building professionals should ensure to carryout proper and efficient supervision of works on site as well as thorough inspect of materials to be used for the construction from sub-structure to superstructure.

- The government and professional team involve in building construction ought to enlighten each other on how to embrace good and quality professional practice as well as enlightening the general public from time to time on the best professional to approach whenever the decision to go into development is made. Also, to warn them that if the right channel is not pass or using the right people, the end result could be disastrous.

- The professionals such as the Architects, Builders, Engineers, Town Planners, Estate Surveyors and Valuers as Project Manager, Quantity Surveyors, Estimators need to come together periodically to discuss the problems facing the industry and suggest way forward.

- To save Nigeria from further agony and trauma, building approval should be in phases, design and site of the building should be approved by the concerned ministry and the government agencies should take the task very serious without bribe collection from client

- Government should enact a Law that will aim to curbing the use of sub-standard materials and making sure that high quality material prices are subsidised so that all income level can afford it. Hence, if all these recommendations can be taken seriously, it would provide a lasting situation to the menace of Crackd building and the psychological traumas it causes on its victims.

- There should be issuance of Certificate of Commencement of construction work, issuance for stages of construction works base on application by builders in charge on site. Government should also apply strict development control.

- Government should ensure that before any work commence on site, the materials to be used must be stamped by various professionals working on the site.

- The menace of residential building cracks is one that requires all stakeholders’ urgent attention. To this end, both government and private individuals make conscientious efforts to make sure that they only approved plans are strictly followed.

- Government officials in the Housing and Environmental Ministries must constantly inspect construction sites to ensure that only the approved plan are followed.

- Proper supervision and monitoring team should periodically inspect building materials to ensure building materials to ensure that sub-standard goods are not used.

- The only way through which this problem can be solved is by engaging the service of a qualified building, civil engineer and an Estate Surveyor and Valuer for construction and proper supervision of the project.

- The building professionals should enlighten the populace of the importance of their profession and the need for ordinary man to contact a certified builder for a new development. Also, government institutions in charge of buildings and development should ensure that the building codes are followed in the course of a new development.

- Foundation of building should be taken into consideration before putting load on i.e. this would determine the number of floors. Approved plan of the building should be strictly adhered to. Avoid using building that is meant for Residential use as Commercial. As we understand that Residential building cannot withstand intensive use and human traffic.

5.3	CONCLUSION

The aim of every developer is to develop properties and enjoy the investment wither through personal use or by generating income from it, and not to claim the lives of loved ones and properties. Research has shown that residential building cracks have very high effect on human lives and property and as a result of personal greed of many developers, corrupt government agencies on site and professionals who are contractors and project managers in the building industry are adding more to the problems. Most property developers patronise quacks due to lack of funds for development and are desperate to have shelter; the government agencies collect bribe and are unable to do the thorough supervision of plan approval and project, the contractors and project managers failed to use quality materials for building projects.

These are becoming the habits in Niger south senatorial district. People loses their lives and properties very often in various crannies in Niger south senatorial district and Nigeria at large due to some peoples’ fault, corruption and greediness. The incidents of residential building cracks therefore calls for the sites works and also to investigate the quality of materials, craftsmen and the nature of contractors involve in the construction on sites. This will justify the need to carryout research work on residential building cracks in Niger south senatorial district with a view of examining its design and construction problem.

Therefore, recommendations given by the researcher and respondents should be taken with serious attention and it will proffer lasting solution to the problems of design and construction of building which results in to Crack in Niger south senatorial district and Nigeria at large.

REFERENCES

Adebayo, S.O. (2000):  Improving Building Techniques. Proceedings of a Workshop on

Residential building cracks: Causes, Prevention and Remedies (pp 48-51). The Nigerian Institute of Building, Niger south senatorial district State.

Ademoroti, G. (1991):  Minimizing the Crack of Buildings in Niger south senatorial district State. Proceedings of

The National Seminar on Effective Contract Management in Construction Industry. Nigerian Institute of Building, 22-23 August, pp 174-187

Adeniya, A. (2002):  How Public-Private Partnership can Tackle Residential building cracks: The

Guardian, Monday, August 26, p45

Adetayo, M.T. (1995):  Workmanship in Nigeria Construction Industry. The Construction

Journal of the Federation of Building and Civil Engineering Contractors in Nigeria. 12(2) 7-9

Adewunmi, R. and Stella, O. (2010):  Residential building cracks: Why Building Will Keep

Cracking in Nigeria. A Retrieved Paper Presented on 20th of March. From http://www.rowland-adewunmi.com .

Adebayo, S.O. (2022):  Improving Building Techniques. Proceedings of a Workshop on

Residential building cracks: Causes, Prevention and Remedies (pp 48-51). The Nigerian Institute of Building, Niger south senatorial district State.

Ademoroti, G. (2021):  Minimizing the Crack of Buildings in Niger south senatorial district State. Proceedings of

The National Seminar on Effective Contract Management in Construction Industry. Nigerian Institute of Building, 22-23 August, pp 174-187

Adeniya, A. (2022):  How Public-Private Partnership can Tackle Residential building cracks: The

Guardian, Monday, August 26, p45

Adetayo, M.T. (2022):  Workmanship in Nigeria Construction Industry. The Construction

Journal of the Federation of Building and Civil Engineering Contractors in Nigeria. 12(2) 7-9

Adewunmi, R. and Stella, O. (2022):  Residential building cracks: Why Building Will Keep

Cracking in Nigeria. A Retrieved Paper Presented on 20th of March. From http://www.rowland-adewunmi.com

African Press Agency (2011):  Residential building cracks Kills at Least 6 in Idumota, Niger south senatorial district Island.	July

6. From http://www.netnewspublisher.com

Akinpelu, J.A. (2002):  The Need for Code of Conduct, Building Regulations and By-Laws

for the Building Industry in Nigeria. The Professional Builder, Nigeria Institute of Building, pp 11-14

Akpabio, N. (1978):  Building Contract Administration – A Handwork for Architects,

Administrators and Building Professionals. Modern Press Ltd. Uyo – Nigeria. P.34

Amusan, J.O. (1991):  Strategies for Enhancing the Local Governments Roles in Minimizing

the Crack of Buildings. Proceedings of the National Conference on Effective Contract Management in the Construction Industry. Nigerian Institute of Building, 22-23 August, pp 188-200

Aniekwu, N. and Orie, O.U. (2005):  The Determination of Severity Indices of Variables that

Cause Crack of Engineering Facilities in Engineering Science and Application (JESA) Vol. 4, No.2 pp 63-70

Ayininuola, G.M. and Olalusi, O.O. (2004):  Assessment of Building Failures in Nigeria:

Niger south senatorial district and Ibadan Case Study. African Journal of Science and Technology (AJST) Science and Engineering Series Vol. 5 June, No.1, pp 73-78

Bamidele, D.T. (2000):  Residential building cracks: Stakeholders Proffer Solution and Way Forward.

Retrieved February 12th, 2006 from http://www.dailysungr.com

Boye, A. (1995):  Factors Responsible for Crackd Building. Tell Magazine No. 3, January,

p.19. Mentioned in Izomoh, S.O. (1997) The Provision of Housing and Management in Nigeria p.20

Bukola, A. (2010):  Nine Feared Dead in Abuja Residential building cracks.

http://www.thenationonlineng.net/web3/news./9389.html

Chapman, J.C. (2000):  Learning from Failures: A Paper by Chapman Associates/Imperial

College of Science, Technology and Medicine, 78(9), pp 23-24

Chinwokwu, G. (2000):  The Role of Professionals in Averting Residential building cracks,

Proceedings of a Seminar on Residential building cracks in Nigeria. The Nigerian Institute of Building, Niger south senatorial district. pp 12-28

Communiqué Issued by Building Professionals (1996):  Brainstorm on Structural Failures 
            and Residential building cracks in Nigeria. ThisDay Newspaper, august 28, p.25

Chika, U. (2008):  Tackling the Discomforting Causes of Frequent Residential building cracks. Paper

Presented on Nigerian Institute of Planners Workshop, Monday 27th, October, Niger south senatorial district State

Dachollom,  D.J. (2008):  Professional Builders and Construction Industry. Retrieved from

Daily Independence 21st March Page 24

Dave, S. (2002):  Building Design, Buildability and Site Production, in D.R. Ogunsemi (Ed)

Residential building cracks; Causes, Prevention and Remedies. Nigerian Institute of Building, Niger south senatorial district State.

Davison, B. and Owens, G.W. (2003):  Steel Designers Manual, 6th Edition. Blackwell

Publishing, London

Dimuna, K.O. (2006):  Compilation of Crackd Buildings in Nigeria 2004-2006 from

National Dailies.

Dimuna, K.O. (2010):  Incessant Incidents of Residential building cracks in Nigeria: A Challenge to

Stakeholders. Global Journal of Researchers in Engineering. Vol. 10 Issue 4 (Ver 1.0) September pp 75

Divid, E. (2009):  A Corporate Manslaughter Law for Nigeria. Retrieved Paper on

Wednesday 16th of June 17:10 odiggsdig.

Ede, A.N. (2010):  Residential building cracks in Nigeria: The Trend of Casualties in the Last Decade

(200-2010). International Journal of Civil & Environmental Engineering IJCEE-IJENS Vol. 10 No.6

Fadamiro, J.A. (2002):  An Assessment of Building Regulation on Standard – The 
            Implication for Residential building cracks in Nigeria. In D.R. Ogunsemi (Ed) Building

Crack: Cause, Prevention and Remedies (pp 28-39). The Nigerian Institute of Building, Ondo State

Federal Fire Service, Niger south senatorial district and Niger south senatorial district State Fire Service, Ikeja. Mentioned in

Chukwuemeka, C.E. (1996): Crack of Building – A Case Study of Crackd Building in Oshodi, Niger south senatorial district State. An Unpublished Research Essay Submitted to the Department of Architecture, Edo State University, Ekpoma.

Folagbade, S.O. (2001):  Case Studies of Residential building cracks in Nigeria. Proceedings of a

Workshop on Residential building cracks: Causes, Prevention and Remedies. The Nigerian Institute of Building, Ondo State Chapter, 23-24 October

Fredericks, M. and Ambrose, J. (1989):  Building Engineering and Systems Design, Van

Nostrand Reinhold, New York. Vol.2

Ghafar, A. (2004):  Understanding Common Building Defect. Published in “Majah Akidek”

Volume 16, Issue 1 (pg 19-21) University Saints Malaysia Renenye

Hall, G.T. (1984):  Revision Notes on Building Maintenance and Adaptation. Butterworth

and Co, England

Hindu, O.A. (2006): Quality of Workmanship and Cost of Building Material: Ayodeji and

Joseph. Relationship Between Residential building cracks and Poor Material (pp 2-3) RICS COBRA Research Conference, University of Cape Town 10-11, September

Longman Dictionary of Contemporary English (2003). Third Edition, Pearson Education,

London. P.56

Madu, L.E.C. (2005):  Averting the Increasing Incidents of Crackd Buildings. The

Vanguard, Tuesday, November 29 p.36

Makinde, F.A. (2007):  Minimizing the Crack of Building in Nigeria. Seminar Paper, 
            Faculty of Environmental Studies, Osun State College of Technology, Esa-Oke, 20-21

August

Mosley, W.H. and Bungay, J.H. (1985):  Reinforced Concrete Design. London Macmillan 
            Ltd. Pp 15-17

New English Dictionary and Thesaurus (2000) 5th Edition Geodes and Crosset, Finland p.42

Obiechina, N. (2005):  How Stakeholders can Conquer the Monster of Residential building cracks.

The Guardian, Monday, August 22nd pp 37-43

Odunlami, S.A. (2002):  Building Maintenance and Services. First Edition. Niger south senatorial district Kraff

Books Limited

Ogunsemi, D.R. (2002):  Residential building cracks: Causes, Prevention and Remedies (pp1-13).

Paper Presented at the Nigerian Institute of Building, Ondo State

Olajumoke, A.M; Oke, L.A.; Fajobi, A.B. and Ogedengbe, M.O. (2009):  Engineering

Failure Analysis of a Failed Building in Osun State, Nigeria. Journal of Failed Analysis and Prevention, Vol. 9, pages 8-15

Oyewande, B. (1992):  A Research for Quality in the Construction Industry. Builders

Magazine, June/July. Niger south senatorial district

Philip, S. (2002):  The Building Act, Building Failures and Education. The Challenge

Institute. New Zealand, Vol.1, pp 1

Richard, R.L. (2002): Leading the Way in Concrete Repair and Protection Technology,

Concrete Repair Association, Costa Rica Vol. 1, pp 1.

Roddis, W.M.K. (1993):  Structural Failures and Engineering Ethics, American Society of

Civil Engineering (Structural Div). 119, Vol 5, pp. 1539-1555

Saturday Punch 9th July, 2011: Controversy Over Death Toll at Idumota Residential building cracks

by Adedamola Olomilua

Seeley, I.H. (1993):  Building Maintenance. The Macmillan Press Ltd London, Vol.2

Singha, S.N. (2002):  Reinforced Concrete Design. New Delhi, India, Tata McGraw Hill

Publishing Company pp 44-47

Sodare, J.E. and Usman, C.P. (2006):  The Incident of Residential building cracks in Nigeria.

Progressive Symposium Summary. ACL Journal pp 997-1004

Wase, D.T. (2004):  The Role of Construction Industry in Sustainable Economic Growth and

Development in Nigeria: The Construction as Building Research Conference of the Royal Institution of Chartered Surveyors, held at University of Cape Town 10-11 September, http://www.rics.org/cobra

QUESTIONNAIRE

PLEASE TICK [√] YOUR MOST PREFERRED CHOICE AND AVOID TICKING TWICE ON A QUESTION

SECTION A

PERSONAL INFORMATION

GENDER  OF RESPONDENTS

| GENDER | PLEASE TICK |
| --- | --- |
| Female |  |
| Male |  |

LITERACY STATUS OF RESPONDENTS

| LITERACY STATUS | PLEASE TICK |
| --- | --- |
| No Basic Education |  |
| Primary/Secondary |  |
| Tertiary Education |  |

PURPOSE OF DEVELOPING PROPERTIES

| PURPOSE | PLEASE TICK |
| --- | --- |
| Personal Use |  |
| Investment |  |

EXPERIENCE IN PROPERTY DEVELOPMENT

| EXPERIENCE | PLEASE TICK |
| --- | --- |
| Below 5 years |  |
| 6-10 years |  |
| Above 11 years |  |

AWARENESS OF BUILDING CRACK

| OPTION | PLEASE TICK |
| --- | --- |
| Yes |  |
| No |  |

FREQUENCY OF RESIDENTIAL BUILDING CRACKS IN NIGER SOUTH SENATORIAL DISTRICT

| OPTION | PLEASE TICK |
| --- | --- |
| Very Common |  |
| Common |  |
| Not Common |  |
| Undecided |  |

THE MAJOR CAUSES OF RESIDENTIAL BUILDING CRACKS

| CAUSES | PLEASE TICK |
| --- | --- |
| Deviation from Approved Plan |  |
| Bad Design |  |
| Sub-Standard Materials |  |
| Poor Workmanship |  |
| Lack of Maintenance |  |
| Faulty Foundation |  |
| Structural Foundation |  |

DEFECT IN BUILDING LEADS TO BUILDNG CRACK

| OPTION | PLEASE TICK |
| --- | --- |
| Yes |  |
| No |  |

RATE GOVERNMENT EFFORTS IN ERADICATING RESIDENTIAL BUILDING CRACKS

| RATE | PLEASE TICK |
| --- | --- |
| Very Good |  |
| Good |  |
| Fair |  |
| Poor |  |

PRESENT EFFORTS OF GOVERNMENT

| OPTION | PLEASE TICK |
| --- | --- |
| Yes |  |
| No |  |

EFFORTS OF PROFESSIONALS IN ERADICATING RESIDENTIAL BUILDING CRACKS

| EFFORTS | PLEASE TICK |
| --- | --- |
| Public Enlightenment |  |
| Regulating Building Code |  |
| Proper Site Supervision |  |
| Using Experienced Craftsmen |  |