# CONSTRUCTION OF AN AUTOMATIC

**WATER LEVEL CONTROLLER**

# BY

**ECHEBIRI CHINAZO NNAMDI**

# EE/2007/253

**BEING A PROJECT SUBMITTED IN PARTIAL**

# FULFILLMENT OF THE REQUIREMENT FOR

**THE AWARD OF BACHELOR OF ENGINEERING**

# (B.ENG)DEGREE IN ELECTRICAL/ELECTRONIC

**ENGINEERING**

# CARITAS UNIVERSITY, AMOJI-NIKE ENUGU

**AUGUST 2012**

# APPROVAL PAGE

This project was written by ECHEBIRI.N. CHINAZO of the department of Electrical Electronic Engineering, Caritas University, Amorji Nike, Enugu State

# PROF. G.C OCHIAGHA DATE

**PROJECT SUPERVISOR**

# ENGR. C.O. EJIMOFORDATE

**HEAD OF DEPARTMENT**

# EXTERNAL EXAMINER DATE

# DEDICATION

This project work is dedicated to God almighty for the strength and wisdom he gave me in writing this project report.

# ACKNOWLEDGEMENT

In the eyes of men lies the fear that it shall not come to pass, but with divine inspiration success prevails. Therefore, unto Almighty God are the glory, honor, power and majesty for great things he has done. Great is his Name.

My profound gratitude goes to my supervisor, Prof. G.C Ochiagha. For his fatherly advice and guidance that made this project a reality.

I appreciate the efforts of the entire staffs of Electrical Electronics department who in one way or the other contributed to the success of my study.

I live to remember Engr. C.O. Ejimofor the head of department, Engr P. N Mbah, Engr Ochia, Engr Blessing. A. Ogbe (NEDDI)for making this a success.

My immensurable thanks, goes to my wonderful and loving parents Dr.D.O Echebiri and Dr.Mrs.Gold Echebiri for the parental care and support. And to my beloved and wonderful siblings, Rev Mrs.J.C Nwaji thank you all for your support, Finally to all my friends thanks for been there. God Bless you all

Chinazo Echebiri

# ABSTRACT

The project design and construction of an automatic water level controller is aimed at realizing a simple, portable cost effective system capable of controlling the water level in an overhead water tank. This project report details the construction processes employed in implementing the project design, step, techniques and approaches employed to see to the effective implementation of components and strict adherence to stipulated measurements to reduce the error coefficient to the barest minimum. Attempt were made to describe the functional unit that make up the project such as the power supply section, control section, indicator section and the load protection section. The system works both in an automatic and in a manual state detecting and controlling the water level in an overhead tank with the aid of a floating switch. The floating switch is placed inside the overhead tank; it floats on the water and thereby detecting the level of water in the tank. Once the water level goes very low the floating switch sends a high signal to the motor to energies it thereby initiating the pumping of water.

# TABLE OF CONTENTS PAGES

TITLE PAGE i

[Approval page… ii](#_TOC_250003)

[Dedication iii](#_TOC_250002)

[Acknowledgement iv](#_TOC_250001)

[Abstract v](#_TOC_250000)

Table of content vi

Lists of figures x

Lists of tables x

CHAPTER ONE

* 1. Introduction 1
	2. Background of the study 1
	3. Aims/objectives of the project 3
	4. Justification of the study 3
	5. Scope of the project… 4
	6. Project report organization 4

CHAPTER TWO

2.1 Literature review… 5

**CHAPTER THREE**

* 1. System design 9
	2. Information gathering 9
	3. Block diagram 10
		1. Power supply unit… 11
		2. The indicator 12
		3. The load protection 12
		4. The automatic/manual section 12
		5. The load 13
	4. Component description 13
		1. Circuit breaker… 14
			1. Operating principle… 14
			2. Types of circuit breakers 15
			3. Uses of circuit breakers… 18
		2. Contactor… 19
			1. Operating principle… 22
			2. Types of contactors… 23
			3. Applications of contactors… 24
		3. Phase sequence monitor… 25
		4. Overload relay 25
			1. Types of overload relays… 26
		5. Arm floating switch 27

3.4.6 Push button switch………………………………………… 28

* + 1. Pilot lamps 28
		2. Tank/reservoir… 29
		3. Voltmeter… 29
		4. Ammeter 29

# CHAPTER FOUR

* 1. System implementation and testing 31
	2. Circuit diagram 32
	3. Circuit description 34
	4. Principle of Operation 35
	5. Testing 36
		1. Pre implementation testing 36
		2. Post implementation testing 36

4.2 Packaging 37

# CHAPTER FIVE

* 1. Conclusion and recommendations… 38
	2. Problem encountered… 38
	3. Suggestions for further improvement… 39
	4. Recommendation 40

5.6 Conclusion… 40

5.6 Project cost/BEME 41

References……………………………………………………. 42

# LIST OF FIGURES

FIG 3.1 Block diagram of an automatic water level controller FIG3.2 A circuit Breaker

FIG3.3 A contactor FIG3.4 An overload relay

FIG3.5 An arm floating switch

FIG4.1a. Schematic diagram of the automatic water level controller FIG4.1b. Circuit diagram of the automatic water level controller

# LIST OF TABLES

1.1 Bill of engineering measurement and evaluation as at 2012(BEME)